## Sheet1
Violation Number | Location Address | Block | Lot | Qualifier | Location Address 2 | Location City | Location Zipcode | Ward | Inspection Date | Notice Date | Compliance Date | Compliance | Violation Issue Date | OwnerIsAgent | Violation Subcode | Agent/Contractor | Issuing Officer | Statute Source | Statute Rule | Infraction | Summary Infraction | Violation Closure Notes | Violation Comments | Violation Close Date | Is Abated | Certified Mail Number | Warning Letter Sent Date | Owner Name | Owner Address | Owner Address 2 | Owner City | Owner Zipcode | Owner Cellphone | Total Due | Total Paid | Total Balance | Appeal Statment | Appeal Received | Appeal Scheduled | Appeal Closed | Appeal Case Number | Appeal Decision | Permit Subcodes | Permit Number | Applicant Name | Applicant Address | Applicant City | Applicant Zipcode | Applicant Cellphone | Contact Name | Contact Telephone | Application Date | Permit Issue Date | Control Number | Application Status | Project Name | Project Number | Work Type | Work Description | Work Description Comments | Census Number | Use Group Proposed | Use Group Present | Private Property | Residential | Permit Close Date | Linked to Permit
V-23-00094 | 15 KATHERINE ST | 292.03 | 9 |  |  | CHERRY HILL TOWNSHIP | 8002 | Somerset | 2023-05-15 | 2023-05-15 | 2023-06-14 |  | 2023-05-15 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | CERTIFIED MAIL # 7019 0160 0000 7548 4062 |  |  |  | FALSE |  |  | YAAKOV LERCHER TRUSTEE OF THE LERCHER FAMILY TRUST | 15 KATHERINE STREET |  | CHERRY HILL | 8002 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00093 | 425 SARATOGA DR | 285.12 | 13 |  |  | CHERRY HILL TOWNSHIP | 8002 | Cherry Hill Estates | 2023-05-04 | 2023-05-05 | 2023-06-05 |  | 2023-05-05 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | INTERIOR ALTERATIONS WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 3720 |  |  |  | FALSE |  |  | SANDERS TANAISHA | 425 SARATOGA DRIVE |  | CHERRY HILL | 8002 |  | 2000 | . | 2000 |  |  |  | FALSE |  |  | B E P | [8 empty] | 2023-04-26 |  | 134912 | Plan Review Pending |  |  | (None) | ELECTRICAL ALTERATIONS | CHANGE LIGHTING FIXTURES/RNCEILING FAN/RNRECESS LIGHTING | 999 | R-5 |  | Private | Residential |  | Yes
V-23-00092 | 800 KINGS HWY N | 340.3 | 12 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-04-25 | 2023-05-03 | 2023-05-25 |  | 2023-05-03 | FALSE | Elevator | SFA (STRATEGIC FUNDING ALTERATIONS) LLC | Fred Kuhn | ASME A17.1-13 EDITION | PIT DIRTY NJAC 5:23-12.2.3.1 | Notice of Unsafe Structure | 0409-00317-001-P1/RNFAILED TWICE, Still excessive oil in pit, jack seal leaking causing a potential fire hazard./RN/RNCERT MAIL# 7019 0160 0000 7548 2150 |  |  |  | FALSE | 7019 0160 0000 7548 2150 | 2023-05-04 | STRATEGIC FUNDING ALTERNATIVES, LLC | ATTN: ANDREW | 312 RT 38, W-STE 100 | MOORESTOWN | 8057 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00091 | 700 CRESCENT DRIVE | 54.01 | 8 |  |  | CHERRY HILL TOWNSHIP | 8002 | Plaza Grande at GSP | 2023-04-19 | 2023-04-28 | 2023-05-19 |  | 2023-04-28 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00323-001/RNFAILED 4X SEE VIOLATION V-23-00061-Phone must establish two way communication to a 24 hour monitored location./RNCERT MAIL# 7019 0160 0000 7548 2143 |  |  |  | FALSE | 7019 0160 0000 7548 2143 | 2023-05-01 | TSV/TGA - GARDEN STATE PARK COMPANY | 992 OLD EAGLE SCHOOL #915 |  | WAYNE | 19087 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00090 | 200 Garden Park Blvd | 54.01 | 8 |  |  | Cherry Hill | 8002 |  | 2023-04-19 | 2023-04-28 | 2023-05-19 |  | 2023-04-28 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR PHONES-ASME A17.1-13 EDITION - 2.27.1.1 | Notice of Unsafe Structure | 0409-00284-002/RNFAILED TWICE-phone not working./RN/RNCERT MAIL# 7019 0160 0000 7548 2136 |  |  |  | FALSE | 7019 0160 0000 7548 2136 | 2023-05-01 | Plaza Grand | 14000 Horizon Way Ste. 200 |  | Mt Laurel | 8054 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00089 | 836 COOPERLANDING RD | 288.01 | 11 |  | WEST BLDG | CHERRY HILL TOWNSHIP | 8002 | The Colonials | 2023-04-19 | 2023-04-28 | 2023-05-19 |  | 2023-04-28 | FALSE | Elevator | COLONIAL APARTMENTS | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00222-002-ELT10-2/RNFAILED TWICE/RNFire service key must be removable in the hold position./RN/RNCERT MAIL# 7019 0160 0000 7548 2129 |  |  |  | FALSE | 7019 0160 0000 7548 2129 | 2023-05-01 | EAST COAST COLONIAL APTS LLC | 160 CLUBHOUSE RD |  | KING OF PRUSSIA | 19406 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00088 | 836 COOPER LANDIND RD | 288.01 | 11 |  |  | Cherry Hill |  | The Colonials | 2023-04-19 | 2023-04-28 | 2023-05-19 |  | 2023-04-28 | FALSE | Elevator | COLONIAL APARTMENTS | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00222-002-ELT10-1/RNFAILED TWICE- FIRE SERV KEY MUST BE REMOVABLE IN HOLD" POSITION,PHASE 1 KEY SWITCH MUST BE LABELED "BYPASS" "OFF" "ON" IN THAT ORDER/RN/RNCERT MAIL# 7019 0160 0000 7548 2112" |  |  |  | FALSE | 7019 0160 0000 7548 2112 | 2023-05-01 | Colonial Apts West | 160 CLUBHOUSEE RD |  | KING OF PRUSSIA | 19406 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00087 | 850 EVESHAM RD | 519.11 | 2 |  |  | CHERRY HILL TOWNSHIP | 8003 |  | 2023-04-19 | 2023-04-20 | 2023-05-19 |  | 2023-04-20 | FALSE | Building | BUILDERS SUPREME | Fred Kuhn | ASME A17.1-13 EDITION | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | INTERIOR DEMO/RN/RNCERT MAIL# 7019 0160 0000 7548 2105 |  |  | 2023-04-24 | FALSE | 7019 0160 0000 7548 2105 | 2023-04-21 | YESHIVA SHAAR HATALMUD INC | 74 ADAMS STREET |  | LAKEWOOD | 8701 |  | 2000 | 2000 | . |  |  |  | FALSE |  |  | B | 20231167 | [7 empty] | 2023-04-20 | 2023-04-24 | 134812 | Open |  |  | Alteration | INTERIOR DEMOLITION |  | 999 | A-3 | A-3 | Private | Non Residential |  | Yes
V-23-00086 | 319 MIMOSA PL | 513.38 | 19 |  |  | CHERRY HILL TOWNSHIP | 8003 | Cherry Downs | 2023-04-12 | 2023-04-13 | 2023-05-13 |  | 2023-04-13 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | STRUCTURAL REPAIRS TO EXISTING HOME WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 3713 |  |  |  | FALSE |  |  | FRANKEL, YEHOUSHUA | 111 CLIFTON AVENUE |  | LAKEWOOD | 8701 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00085 | 1200 HADDONFIELD RD | 134.01 | 1 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-03-23 | 2023-04-03 | 2023-04-23 |  | 2023-04-04 | FALSE | Elevator | ROYAL PROPERTY MANAGEMENT | Fred Kuhn | ASME A17.1-13 EDITION | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | Phone must dial a 24 hr momitered service & can't dial an auto ansewering serv, Req annual pressure test must be performed by qualified personel & witnessed by inspector./RN/RN7019 0160 0000 7548 2099 |  |  |  | FALSE | 7019 0160 0000 7548 2099 | 2023-04-04 | 1200 HADDONFIELD ROAD ASSOCIATES LL | 215 SOUTH BROAD ST, S-203 |  | PHILADELPHIA | 19107 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00084 | 504 GARWOOD DR | 528.16 | 3 |  |  | CHERRY HILL TOWNSHIP | 8003 | Woodcrest | 2023-03-31 | 2023-04-03 | 2023-04-03 |  | 2023-04-03 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO DWELLING./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4871 |  |  |  | FALSE |  |  | GREENFIELD LEE J & LENCIONI ERIK | 504 GARWOOD DR |  | CHERRY HILL | 8003 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00082 | 1909 RT 70 E | 472.01 | 11 |  |  | CHERRY HILL TOWNSHIP | 8003 |  | 2023-03-16 | 2023-03-27 | 2023-04-16 |  | 2023-03-27 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00187-001-P2/RNFAILED TWICE-Labeling of elevators and equipment must match in car, outside of hoistway, and in machine room. |  |  |  | FALSE | 7019 0160 0000 7548 2075 | 2023-03-27 | 1909 ROUTE 70 LLC | 1625 ROUTE 10 E |  | MORRIS PLAINS | 7959 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00081 | 1909 RT 70 E | 472.01 | 11 |  |  | CHERRY HILL TOWNSHIP | 8003 |  | 2023-03-16 | 2023-03-27 | 2023-04-16 |  | 2023-03-27 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00187-001-P1/RNFAILED TWICE-Labeling of elevators and equipment must match in car, outside of hoistway, and in machine room./RNCERT MAIL# 7019 0160 0000 7548 2068 |  |  |  | FALSE | 7019 0160 0000 7548 2068 | 2023-03-27 | 1909 ROUTE 70 LLC | 1625 ROUTE 10 E |  | MORRIS PLAINS | 7959 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00080 | 2130 RT 70 W | 54.02 | 1 |  |  | Cherry Hill | 8002 |  | 2023-03-13 | 2023-03-27 | 2023-04-13 |  | 2023-03-27 | TRUE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR PHONES-ASME A17.1-13 EDITION - 2.27.1.1 | Notice of Unsafe Structure | 0409-00266-002-P-1/RNFAILED MULTIPLE TIMES-Phone not working./RN/RNCERT MAIL# 7019 0160 0000 7548 2051 |  |  |  | FALSE | 7019 0160 0000 7548 2051 | 2023-03-27 | Christmas Tree Shops/Attn: Facilities Dept | 650 Liberty Ave |  | Union | 7083 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00079 | 2130 RT 70 W | 54.02 | 1 |  |  | Cherry Hill | 8002 |  | 2023-03-13 | 2023-03-27 | 2023-04-13 |  | 2023-03-27 | TRUE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR PHONES-ASME A17.1-13 EDITION - 2.27.1.1 | Notice of Unsafe Structure | 0409-00266-001-P-1/RNFAILED TWICE-Phone not working./RN/RNCERT MAIL# 7019 0160 000 7548 2044 |  |  |  | FALSE | 7019 0160 0000 7548 2044 | 2023-03-27 | Bed, Bath & Beyond/Attn: Facilities Dept | 650 Liberty Ave |  | Union | 7083 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00078 | 232 SANDRINGHAM RD | 519.06 | 21 |  |  | CHERRY HILL TOWNSHIP | 8003 | Surrey Place East | 2023-03-18 | 2023-03-20 | 2023-03-20 |  | 2023-03-20 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO DWELLING./RN/RNCERTIFIED MAIL # 7019 1120 0001 4543 6716 |  |  |  | FALSE |  |  | ADLER ANNA | 232 SANDRINGHAM ROAD |  | CHERRY HILL | 8003 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00077 | 725 CUTHBERT BLVD- UNIT K | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-03-17 | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | SNBGI 2013 OWNERS LLC | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20171650 | [7 empty] | 2017-05-03 | 2017-05-08 | 105019 | Open |  |  | Alteration |  | OIL TO PROPANE WATER HEATER CONVERSION | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00076 | 725 CUTHBERT BLVD- UNIT J | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | SNBGI 2013 OWNERS LLC | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20171651 | [7 empty] | 2017-05-03 | 2017-05-08 | 105018 | Open |  |  | Alteration |  | OIL TO PROPANE WATER HEATER CONVERSION | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00075 | 725 CUTHBERT BLVD- UNIT H | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | SNBGI 2013 OWNERS LLC | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20171652 | [7 empty] | 2017-05-03 | 2017-05-08 | 105015 | Open |  |  | Alteration |  | OIL TO PROPANE WATER HEATER CONVERSION | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00074 | 725 CUTHBERT BLVD-BLDG G | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | PATEL PRAKASH - INN OF THE DOVE | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20172923 | [7 empty] | 2017-07-27 | 2017-08-02 | 106593 | Open |  |  | Alteration | PLUMBING ALTERATIONS | OIL TO PROPANE WATER HEATER CONVERSION -UNIT G | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00073 | 725 CUTHBERT BLVD-BLDG F | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | PATEL PRAKASH - INN OF THE DOVE | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20172922 | [7 empty] | 2017-07-27 | 2017-08-02 | 106592 | Open |  |  | Alteration | PLUMBING ALTERATIONS | OIL TO PROPANE WATER HEATER CONVERSION-UNIT F | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00072 | 725 CUTHBERT BLVD-BLDG E | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | PATEL PRAKASH - INN OF THE DOVE | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20172921 | [7 empty] | 2017-07-27 | 2017-08-02 | 106591 | Open |  |  | Alteration | PLUMBING ALTERATIONS | OIL TO PROPANE WATER HEATER CONVERSION- UNIT E | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00071 | 725 CUTHBERT BLVD-BLDG D | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | PATEL PRAKASH - INN OF THE DOVE | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20172920 | [7 empty] | 2017-07-27 | 2017-08-02 | 106590 | Open |  |  | Alteration | PLUMBING ALTERATIONS | OIL TO PROPANE WATER HEATER CONVERSION-INN OF THE DOVE UNIT D | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00070 | 725 CUTHBERT BLVD- UNIT C | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | SNBGI 2013 OWNERS LLC | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20171649 | [7 empty] | 2017-05-03 | 2017-05-08 | 105014 | Open |  |  | Alteration |  | OIL TO PROPANE WATER HEATER CONVERSION | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00069 | 725 CUTHBERT BLVD-BLDG B | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | A/C UNIT, AIR HANDLER & CONDENSATE REPLACEMENT WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | PATEL PRAKASH - INN OF THE DOVE | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20172919 | [7 empty] | 2017-07-27 | 2017-08-02 | 106589 | Open |  |  | Alteration | PLUMBING ALTERATIONS | OIL TO PROPANE WATER HEATER CONVERSION-INN OF THE DOVE UNIT B | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00068 | 725 CUTHBERT BLVD-UNIT A | 595.01 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  |  | 2023-03-17 | 2023-04-17 |  | 2023-03-17 | FALSE | Administrative | BELLMAWR HEAT & AIR LLC | Fred Kuhn | International Building Code NJ Edition 2018 | FAILURE TO CALL FOR REQUIRED INSPECTIONS IN VIOLAT | Notice of Violation and Order To Terminate | OIL TO PROPANE WATER HEATER CONVERSION./RN/RNCERTIFIED MAIL#7019 0160 0000 7548 4369 |  |  |  | FALSE |  |  | SNBGI 2013 OWNERS LLC | 725 CUTHBERT BOULEVARD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | P | 20171648 | [7 empty] | 2017-05-03 | 2017-05-08 | 105017 | Open |  |  | Alteration |  | OIL TO PROPANE WATER HEATER CONVERISON | 999 | R-1 |  | Private | Residential |  | Yes
V-23-00066 | 1409 RT 70 E - SPACE #65 | 342.15 | 41 |  |  | CHERRY HILL TOWNSHIP | 8034 |  | 2023-03-10 | 2023-03-16 | 2023-04-17 |  | 2023-03-16 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | FRONT PORCH ENCLOSURE WITHOUT CONSTRUCTION PERMIT./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4154 |  |  |  | FALSE |  |  | HORTENSE ASSO LP % METRO COM MGMT | 307 FELLOWSHIP RD-STE 300 |  | MT LAUREL | 8054 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00065 | 1405 FARRELL AVE # 238 | 37.01 | 1 |  |  | CHERRY HILL TOWNSHIP | 8002 | Park Place | 2023-03-15 | 2023-03-16 | 2023-03-16 |  | 2023-03-16 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO TRAILER LOT 238./RN/RNCERTIFIED MAIL # 7019 1120 0001 4543 6730 |  |  |  | FALSE |  |  | PARK SPECIALISTS, INC | PO BOX 1048 |  | VOORHEES | 8043 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00064 | 3051 Chapel Ave W | 340.3 | 7 |  | Bernard Dubin House | Cherry Hill | 8002 | Dubin House | 2023-02-27 | 2023-03-15 | 2023-03-27 |  | 2023-03-16 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR ELEVATOR & RETURN TO SERVICE OR REMOVE ASM | Notice of Unsafe Structure | 0409-00108-001-P2/RNPhone not working, replace cables, attach top of car emergency exit to car top./RNCERT MAIL# 7019 0160 0000 7548 2037 |  |  | 2023-06-01 | TRUE | 7019 0160 0000 7548 2037 | 2023-03-17 | Bernard Dubin House | 3051 Chapel Ave W #100G |  | Cherry Hill | 8002 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00063 | 3051 Chapel Ave W | 340.3 | 7 |  | Bernard Dubin House | Cherry Hill | 8002 | Dubin House | 2023-02-27 | 2023-03-17 | 2023-03-27 |  | 2023-03-16 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR ELEVATOR & RETURN TO SERVICE OR REMOVE ASM | Notice of Unsafe Structure | 0409-00108-001-P1/RNPhone not working, replace cables, attach top of car emergency exit to car top./RNCERT MAIL# 7019 0160 0000 7548 2020 |  |  | 2023-06-01 | TRUE | 7019 0160 0000 7548 2020 | 2023-03-17 | Bernard Dubin House | 3051 Chapel Ave W #100G |  | Cherry Hill | 8002 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00062 | 950 Kings Hwy N. | 340.3 | 13 |  |  | Cherry Hill |  |  | 2023-02-27 | 2023-03-17 | 2023-03-27 |  | 2023-03-16 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00180-001-P1/RNREF: V-23-00022 Repair or replace machine room ceiling./RNCERT MAIL# 7019 0160 0000 7548 2013 |  |  | 2023-04-25 | TRUE | 7019 0160 0000 7548 2013 | 2023-03-17 | KSG CHERRY HILL 950, LLC | 1000 CONNEL DR | STE 2300 | BERKLEY HEIGHTS | 7922 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00061 | 700 CRESCENT DRIVE | 54.01 | 8 |  |  | CHERRY HILL TOWNSHIP | 8002 | Plaza Grande at GSP | 2023-02-27 | 2023-03-17 | 2023-03-27 |  | 2023-03-16 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR PHONES-ASME A17.1-13 EDITION - 2.27.1.1 | Notice of Unsafe Structure | 0409-00323-001-ELH1/RNFAILED TWICE-Phone not working /RN/RNCERT MAIL# 7019 0160 0000 7548 2006 |  |  |  | FALSE | 7019 0160 0000 7548 2006 | 2023-03-17 | TSV/TGA - GARDEN STATE PARK COMPANY | 992 OLD EAGLE SCHOOL #915 |  | WAYNE | 19087 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00060 | 499 COOPERLANDING RD | 340.01 | 26 |  |  | Cherry Hill Township | 8002 | Windsor Park | 2023-02-27 | 2023-03-17 | 2023-03-27 |  | 2023-03-16 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR ELEVATOR & RETURN TO SERVICE OR REMOVE ASM | Notice of Unsafe Structure | 0409-00119-001-P1/RNFAILED TWICE/RN/RNCERT MAIL# 7019 0160 0000 7548 1993 |  |  | 2023-05-02 | TRUE | 7019 0160 7548 1993 | 2023-03-17 | 499 ROPA REALTY LLC | 499 COOPER LANDING ROAD |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00059 | 457 HADDONFIELD RD | 176.01 | 1 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-02-27 | 2023-03-15 | 2023-03-27 |  | 2023-03-16 | FALSE | Elevator | BARUCH CHERRY HILL, LLC | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00201-001-ELT10-3/RNREF: V-23-00020/RN/RNCERT MAIL# 7019 0160 0000 7548 1986 |  |  | 2023-04-25 | TRUE | 7019 0160 0000 7548 1986 | 2023-03-17 | BARUCH CHERRY HILL LLC | 551 FIFTH AVE SUITE 2500 |  | NEW YORK | 10176 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00058 | 210 LAKE DR E | 333.01 | 2 |  |  | Cherry Hill Township | 8002 |  | 2023-02-23 | 2023-03-01 | 2023-03-23 |  | 2023-03-01 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR ELEVATOR & RETURN TO SERVICE OR REMOVE ASM | Notice of Unsafe Structure | 0409-00141-003-P2/RNFAILED TWICE-Top of car wiring must meet NEC codes./RN/RNCERT MAIL# 7019 0160 0000 7548 1979 |  |  | 2023-05-10 | TRUE | 7019 0160 0000 7548 1979 | 2023-03-02 | SFA WOODLAND FALLS LLC | 312 RT 38 STE 100 |  | MOORESTOWN | 8057 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00057 | 2000 RT 38 | 285.02 | 6 |  | CH MALL | Cherry Hill Township |  |  | 2023-02-23 | 2023-03-02 | 2023-03-23 |  | 2023-03-01 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00265-001-E6/RNREF: V-23-00035/RN/RNCERT MAIL# 7019 0160 0000 7548 1962 |  |  | 2023-05-08 | TRUE | 7019 0160 0000 7548 1962 | 2023-03-02 | Preit | 200 S. Broad St. |  | Philadelphia | 19102 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00056 | 2000 RT 38 | 285.02 | 6 |  | CH MALL | Cherry Hill Township |  |  | 2023-02-23 | 2023-03-02 | 2023-03-23 |  | 2023-03-01 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00265-001-E5 /RN REF: V-23-00034/RN/RNCERT MAIL# 7019 0160 0000 7548 1955 |  |  | 2023-05-08 | TRUE | 7019 0160 0000 7548 1955 | 2023-03-02 | Preit | 200 S. Broad St. |  | Philadelphia | 19102 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00055 | 705 KRESSON RD | 411.05 | 31 |  |  | CHERRY HILL TOWNSHIP | 8003 | Old Charleston Woods | 2023-02-24 | 2023-02-28 | 2023-03-28 |  | 2023-02-28 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | CONSTRUCTION OF INGROUND POOL AND ADDITION WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4147 |  |  |  | FALSE |  |  | CAPRI ETHAN & DANIELLE | 705 KRESSON ROAD |  | CHERRY HILL | 8003 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00054 | 2151 Route 38 E-East Bldg | 285.25 | 6 |  |  | Cherry Hill |  | Cherry Hill Towers | 2023-02-09 | 2023-02-14 | 2023-03-09 |  | 2023-02-14 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00110-001-ELT99-3/RNREF- V-23-00012, Star symbol inside car must represent the designated recall floor./RNSecure top of car emergency exit from car top, must be openable from car top without the use of tools./RNCERT MAIL# 7019 0160 0000 7548 1931 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1931 | 2023-02-14 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00053 | 2151 Route 38 E-East Bldg | 285.25 | 6 |  |  | Cherry Hill |  | Cherry Hill Towers | 2023-02-09 | 2023-02-14 | 2023-03-09 |  | 2023-02-14 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00110-001-ELT99-2/RNREF- V-23-00011, Secure top of car emergency exit, must be openable with out the use of tools./RNClean Pits./RNCERT MAIL# 7019 0160 0000 7548 1924 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1924 | 2023-02-14 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00052 | 2151 Route 38 E-East Bldg | 285.25 | 6 |  |  | Cherry Hill |  | Cherry Hill Towers | 2023-02-09 | 2023-02-14 | 2023-03-09 |  | 2023-02-14 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00110-001-ELT99-1/RNREF- V-23-00010, Secure top of car emergency exit from top of car, openable without the use of tools./RNClean Pits./RNCERT MAIL# 7019 0160 0000 7548 1948 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1948 | 2023-02-14 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00051 | 2141 RT 38 | 285.25 | 6 |  |  | CHERRY HILL TOWNSHIP | 8002 | Cherry Hill Towers | 2023-02-09 | 2023-02-14 | 2023-03-09 |  | 2023-02-13 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00109-001-ELT99-3/RNREF- V23-00009, Star symbol must represent the designated recall floor. No capacity posted in car.Call cancel not working./RNCERT MAIL# 7019 0160 0000 7548 1917 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1917 | 2023-02-14 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00050 | 2141 RT 38, E | 285.25 | 6 |  |  | CHERRY HILL TOWNSHIP | 8002 | Cherry Hill Towers | 2023-02-09 | 2023-02-14 | 2023-03-09 |  | 2023-02-14 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00109-001-ELT99-2/RNREF- V-23-00008 Escape hatch switch has not been repaired and is not functioning properly./RNCERT MAIL# 0719 0160 0000 7548 1900 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1900 | 2023-02-14 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00049 | 2141 RT 38, E | 285.25 | 6 |  |  | CHERRY HILL TOWNSHIP | 8002 | Cherry Hill Towers | 2023-02-09 | 2023-02-14 | 2023-03-09 |  | 2023-02-14 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00109-001-ELT99-1/RNREF- V-23-00007 , Escape hatch switches have not been repaired and are not functioning properly./RNCERT MAIL# 7019 0160 0000 7548 1894 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1894 | 2023-02-14 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00048 | 1818 OLD CUTHBERT RD | 463.01 | 16 |  | STE 100 | CHERRY HILL | 8034 |  | 2023-02-08 | 2023-02-14 | 2023-03-08 |  | 2023-02-14 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR EMERGENCY LIGHTS-ASME A17.1-13 EDITION 2.11 | Notice of Unsafe Structure | 0409-00217-001-P1/RNFAILED TWICE- Emergency lights not working./RN/RNCERT MAIL # 7019 0160 0000 7548 1887 |  |  |  | FALSE | 7019 0160 0000 7548 | 2023-02-14 | RENHAN, LLC | 1818 OLD CUTHBERT RD | STE 100 | CHERRY HILL | 8034 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00047 | 1415 Route 70E #500 | 435.01 | 11 | CHP |  | Cherry Hill | 8034 |  | 2023-02-07 | 2023-02-14 | 2023-03-07 |  | 2023-02-14 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR PHONES-ASME A17.1-13 EDITION - 2.27.1.1 | Notice of Unsafe Structure | 0409-00186-001-ELT10-3/RNFAILED TWICE- 5YR-Phone must call a 24 hr monitored service, No answer on phone./RNCERT MAIL# 7019 0160 0000 7548 1870 |  |  |  | FALSE | 7019 0160 0000 7548 1870 | 2023-02-14 | CHP Assoc c/o Veritas | 701 RT 73, N STE 4 |  | Marlton | 8053 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00046 | 1415 Route 70E #500 | 435.01 | 11 | CHP |  | Cherry Hill | 8034 |  | 2023-02-07 | 2023-02-14 | 2023-03-07 |  | 2023-02-14 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR PHONES-ASME A17.1-13 EDITION - 2.27.1.1 | Notice of Unsafe Structure | 0409-00186-001-ELT10-2/RNFAILED TWICE- 5YR-Phone must call a 24 hr monitored service, No answer on phone./RNCERT MAIL# 7019 0160 0000 7548 1863 |  |  |  | FALSE | 7019 0160 0000 7548 1863 | 2023-02-14 | CHP Assoc c/o Veritas | 701 RT 73, N STE 4 |  | Marlton | 8053 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00045 | CHERRY HILL MALL | 285.02 | 8 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-02-03 | 2023-02-09 | 2023-03-03 |  | 2023-02-09 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00165-001-P2/RNV-22-00117, Pits have not been cleaned and impose a potential fire hazard./RN/RNCERT MAIL# 7019 0160 0000 7548 1856 |  |  | 2023-04-25 | TRUE | 7019 0160 0000 7548 1856 | 2023-02-09 | MACY'S MAOC VERTICAL COMPLIANCE | 237 WOODBRIDGE CENTER DR | 3rd FLR | WOODBRIDGE | 7095 |  | 2000 | 2000 | . |  |  |  | FALSE | [26 empty] | No
V-23-00044 | CHERRY HILL MALL | 285.02 | 8 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-02-03 | 2023-02-09 | 2023-03-03 |  | 2023-02-09 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00165-001-P1/RNV-22-00116, Pits have not been cleaned and impose a potential fire hazard./RN/RNCERT MAIL# 7019 0160 0000 7548 1849 |  |  | 2023-04-25 | TRUE | 7019 0160 0000 7548 1849 | 2023-02-09 | MACY'S MAOC VERTICAL COMPLIANCE | 237 WOODBRIDGE CENTER DR | 3rd FLR | WOODBRIDGE | 7095 |  | 2000 | 2000 | . |  |  |  | FALSE | [26 empty] | No
V-23-00043 | 1405 FARRELL AVE - LOT 304 | 37.01 | 1 |  |  | CHERRY HILL TOWNSHIP | 8002 | Park Place | 2023-02-06 | 2023-02-07 | 2023-02-07 |  | 2023-02-07 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO DWELLING./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4611 |  |  | 2023-04-25 | TRUE |  |  | PARK SPECIALISTS, INC | PO BOX 1048 |  | VOORHEES | 8043 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00042 | 504 KINGS HWY N | 286.18 | 13 |  |  | CHERRY HILL TOWNSHIP | 8002 | Windsor Park West | 2023-02-06 | 2023-02-07 | 2023-02-14 |  | 2023-02-07 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | VEHICLE STRUCK BRICK MONUMENT WALGREEN'S SIGN. SIGN IN DANGER OF COLLAPSE AND MUST BE DEMOLISHED./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4598 | SIGN HAS BEEN REMOVED. | Fred, Kuhn added on Tuesday, February 7, 2023 at 09:58/RN Emailed the store Manager Jessica in Related/RN/RN | 2023-02-22 | TRUE |  |  | FRED & IVAN LEIST SPECIAL II LLC | 380 EAST 18TH ST LOBBY E |  | BROOKLYN | 11226 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00041 | 2000 RT 38 | 285.02 | 2 |  | CHERRY HILL MALL | CHERRY HILL TOWNSHIP | 8002 |  | 2023-01-30 | 2023-02-07 | 2023-03-02 |  | 2023-02-07 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00151-001-ELH-4/RNV-22-00120 -Top of car inspection switch is broken and cannot be used./RN/RNCERT MAIL# 7019 0160 0000 7548 1832 |  |  | 2023-05-31 | TRUE | 7019 0160 0000 7548 1832 | 2023-02-07 | CTL PROPCO I LLC | 3 SECOND STREET #206 |  | JERSEY CITY | 7311 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00040 | 2109 CHAPEL AVE W | 167.01 | 3 |  | CHHS WEST | Cherry Hill Township |  | Locustwood | 2023-01-30 | 2023-02-07 | 2023-03-02 |  | 2023-02-07 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00263-001-P1/RNV-22-00124 -Top of car inspection station is not working./RN/RNCERT MAIL# 7019 0160 0000 7548 |  |  | 2023-04-03 | TRUE | 7019 0160 0000 7548 1825 | 2023-02-07 | Cherry Hill Public Schools | Accounts Payable | 45 Ranoldo Terrace | Cherry Hill | 8003 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00039 | 1409 RT 70 E | 342.15 | 41 |  |  | CHERRY HILL TOWNSHIP | 8034 |  | 2023-02-03 | 2023-02-03 | 2023-03-03 |  | 2023-02-03 | FALSE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice of Violation and Order To Terminate | NEW SIGN INSTALLED FOR SALAD WORKS WITHOUT CONSTRUCTION PERMIT./RN/RNCERTIFIED MAIL # 7019 0160 0000 |  |  | 2023-02-23 | TRUE |  |  | HORTENSE ASSO LP % METRO COM MGMT | 307 FELLOWSHIP RD-STE 300 |  | MT LAUREL | 8054 |  | . | . | . |  |  |  | FALSE |  |  | B E | 20230614 | SALAD WORKS | [6 empty] | 2020-08-14 | 2023-02-23 | 121236 | CA and Close Date Issued |  |  | Alteration | SIGN INSTALLATION WITH ELEC | SALADWORKS | 999 | B | B | Private | Non Residential | 2023-03-02 | Yes
V-23-00038 | 100 BRACE RD | 342.2 | 5 |  |  | CHERRY HILL TOWNSHIP | 8034 |  | 2023-01-31 | 2023-02-02 | 2023-03-02 |  | 2023-02-02 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | CONSTRUCTION WORK IN BASEMENT. MAJOR CRACKS IN THE BASEMENT WALLS WITH AN INWARD THRUST./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 3164 |  |  |  | FALSE |  |  | GLOBAL BIO-PHARMA CONSULTING LLC | 412 SALEM CROSSING RD |  | MOORESTOWN | 8057 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00037 | 63 Kresson Rd | 407.01 | 3 |  |  | Cherry Hill |  |  | 2023-01-27 | 2023-02-03 | 2023-02-27 |  | 2023-02-03 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00254-001 - REF: V-22-00149/RNStar symbol must reflect the primary recall floor (2nd floor not 1st floor. - FAILED AGAIN/RNCERT MAIL# 7019 0160 0000 7548 1801 |  |  | 2023-03-24 | TRUE | 7019 0160 0000 7548 1801 | 2023-02-03 | CHCT NEW JERSEY, LLC | 3326 ASPEN GROVE DR | STE 150 | FRANKLIN | 37067 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00036 | 1810 CHAPEL AVE W | 285.25 | 3 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-01-27 | 2023-02-03 | 2023-02-27 |  | 2023-02-03 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00125-002 - REF: V-22-00143/RNStop switch must activate the alarm bell or be key operated.-FAILED AGAIN/RNCERT MAIL# 7019 0160 0000 7548 1818/RN |  |  | 2023-05-10 | TRUE | 7019 0160 0000 7548 1818 | 2023-02-03 | Cherry Hill Commerce Center | 1800 Chapel Ave W #110 |  | Cherry Hill | 8002 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00035 | 2000 RT 38 | 285.02 | 6 |  | CH MALL | Cherry Hill Township |  |  | 2023-01-25 | 2023-02-01 | 2023-02-24 |  | 2023-02-01 | FALSE | Elevator | CHERRY HILL CTR c/o PREIT TAX DEPT | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00265-001-E6/RNFAILED TWICE Repair or replace demarcation lighting./RN/RNCERT MAIL# 7019 0160 0000 7548 1795 |  |  | 2023-05-08 | TRUE | 7019 0160 0000 7548 1795 | 2023-02-01 | Preit | 200 S. Broad St. |  | Philadelphia | 19102 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00034 | 2000 RT 38 | 285.02 | 6 |  | CH MALL | Cherry Hill Township |  |  | 2023-01-25 | 2023-02-01 | 2023-02-24 |  | 2023-02-01 | FALSE | Elevator | CHERRY HILL CTR c/o PREIT TAX DEPT | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00265-002-E5/RNFAILED TWICE Repair or replace demarcation lighting./RN/RNCERT MAIL# 7019 0160 0000 7548 1788 |  |  | 2023-05-08 | TRUE | 7019 0160 0000 7548 1788 | 2023-02-01 | Preit | 200 S. Broad St. |  | Philadelphia | 19102 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00033 | 21 MAPLE AVE | 287.06 | 19 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-01-30 | 2023-01-31 | 2023-01-31 |  | 2023-01-31 | TRUE | Administrative |  | Fred Kuhn | International Building Code / 2015 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO DWELLING./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 3188 |  |  |  | FALSE |  |  | TAMBUSSI LAWRENCE J & TRACI BEDEN- | 21 MAPLE AVE |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00032 | 1641 RT 70 E | 436.02 | 1 |  |  | CHERRY HILL TOWNSHIP | 8034 | Deer Park | 2023-01-27 | 2023-02-01 | 2023-02-27 |  | 2023-02-01 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR PHONES-ASME A17.1-13 EDITION - 2.27.1.1 | Notice of Unsafe Structure | 0409-00290-001 REPAIR PHONE/RN/RNCERT MAIL# 7019 0160 0000 7548 1740 |  |  | 2023-02-27 | TRUE | 7019 0160 0000 7548 1740 | 2023-02-01 | CHERRY HILL REAL ESTATE ASSOCIATES | 457 W END AVE |  | N PLAINFIELD | 7061 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00031 | 2000 ROUTE 38 | 285.02 | 8 |  |  | CHERRY HILL | 8002 |  | 2023-01-24 | 2023-02-01 | 2023-02-24 |  | 2023-02-01 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00165-001-ESCL-4 V-22-000148/RN REPAIR OR REPLACE DEMARCATION LIGHTING./RN/RNCERT MAIL# 7019 0160 0000 7548 1771/RN |  |  |  | FALSE | 7019 0160 0000 7548 1771 | 2023-02-01 | MACY'S MAOC VERTICAL COMPLIANCE | 237 WOODBRIDGE CENTER DR | 3rd FLR | WOODBRIDGE | 7095 |  | 2000 | 2000 | . |  |  |  | FALSE | [26 empty] | No
V-23-00030 | 2000 ROUTE 38 | 285.02 | 8 |  |  | CHERRY HILL | 8002 |  | 2023-01-24 | 2023-02-01 | 2023-02-24 |  | 2023-02-01 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00156-001-ESCL-3/RNV-22-00147 REPAIR OR REPLACE DEMARCATION LIGHTING./RNCERT MAIL# 7019 0160 0000 7548 |  |  |  | FALSE | 7019 0160 0000 7548 | 2023-02-01 | MACY'S MAOC VERTICAL COMPLIANCE | 237 WOODBRIDGE CENTER DR | 3rd FLR | WOODBRIDGE | 7095 |  | 2000 | 2000 | . |  |  |  | FALSE | [26 empty] | No
V-23-00029 | 2000 ROUTE 38 | 285.02 | 8 |  |  | CHERRY HILL | 8002 |  | 2023-01-24 | 2023-02-01 | 2023-02-24 |  | 2023-02-01 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | 0409-00165-001-ESCL-2 /RNV-22-00146 REPAIR OR REPLACE DEMARCATION LIGHTING./RNCERT MAIL# 7019 0160 0000 7548 1757 |  |  |  | FALSE | 7019 0160 0000 7548 1757 | 2023-02-01 | MACY'S MAOC VERTICAL COMPLIANCE | 237 WOODBRIDGE CENTER DR | 3rd FLR | WOODBRIDGE | 7095 |  | 2000 | 2000 | . |  |  |  | FALSE | [26 empty] | No
V-23-00028 | 201 MERION AVE | 583.02 | 1 |  |  | CHERRY HILL TOWNSHIP | 8003 |  | 2023-01-27 | 2023-01-27 | 2023-01-27 |  | 2023-01-27 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO DWELLING./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4024 |  |  |  | FALSE |  |  | 201 MERION AVENUE LLC | 40 RIVER RUN |  | LAWNSIDE | 8045 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00027 | 1 MALL DR | 285.02 | 5 |  |  | Cherry Hill | 8002 |  | 2023-01-23 | 2023-01-27 | 2023-03-23 |  | 2023-01-27 | FALSE | Elevator | CHERRY HILL CTR c/o PREIT TAX DEPT | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR ELEVATOR & RETURN TO SERVICE OR REMOVE ASM | Notice of Unsafe Structure | 0409-00159-001-ELT10-3/RNRED TAG/RNReturn elevator to code compliant status and perform 5 year full load test with inspector present./RNCERT MAIL# 7019 0160 0000 7548 1733 |  | Fred, Kuhn added on Wednesday, March 8, 2023 at 19:55/RN Emailed letter to Mr. Sheehan to extend time for compliance in Related/RN/RNFred, Kuhn added on Friday, March 3, 2023 at 21:03/RN Received letter concerning the violation for the elevators/RN/RN |  | FALSE | 7019 0160 0000 7548 1733 | 2023-01-27 | Preit | 200 S. Broad St. Floor 3 |  | Philadelphia | 19102 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00026 | 1 MALL DR | 285.02 | 5 |  |  | Cherry Hill | 8002 |  | 2023-01-23 | 2023-01-27 | 2023-03-23 |  | 2023-01-27 | FALSE | Elevator | CHERRY HILL CTR c/o PREIT TAX DEPT | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR ELEVATOR & RETURN TO SERVICE OR REMOVE ASM | Notice of Unsafe Structure | 0409-00159-001-ELT10-2/RNRED TAG/RNReturn elevator to code compliant status and perform 5 year full load test with inspector present./RNCERT MAIL# 7019 0160 0000 7548 1726 |  | Fred, Kuhn added on Wednesday, March 8, 2023 at 19:54/RN Emailed letter to Mr. Sheehan to extend time for compliance in Related/RN/RNFred, Kuhn added on Friday, March 3, 2023 at 21:03/RN Received letter concerning the violation for the elevators/RN/RN |  | FALSE | 7019 0160 0000 7548 1726 | 2023-01-27 | Preit | 200 S. Broad St. Floor 3 |  | Philadelphia | 19102 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00025 | 1 MALL DR | 285.02 | 5 |  |  | Cherry Hill | 8002 |  | 2023-01-23 | 2023-01-27 | 2023-03-23 |  | 2023-01-27 | FALSE | Elevator | CHERRY HILL CTR c/o PREIT TAX DEPT | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR ELEVATOR & RETURN TO SERVICE OR REMOVE ASM | Notice of Unsafe Structure | 0409-00159-001-ELT10-1/RNRED TAG/RNReturn elevator to code compliant status and perform 5 year full load test with inspector present./RNCERT MAIL# 7019 0160 0000 7548 1719 |  | Fred, Kuhn added on Wednesday, March 8, 2023 at 19:54/RN Emailed letter to Mr. Sheehan to extend time for compliance in Related/RN/RNFred, Kuhn added on Friday, March 3, 2023 at 21:02/RN Received letter concerning the violation for the elevators in Related/RN/RN |  | FALSE | 7019 0160 0000 7548 1719 | 2023-01-27 | Preit | 200 S. Broad St. Floor 3 |  | Philadelphia | 19102 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00024 | 23 CHIMNEY LN | 513.11 | 15 |  |  | CHERRY HILL TOWNSHIP | 8003 | Old Orchard | 2023-01-24 | 2023-01-25 | 2023-01-25 |  | 2023-01-25 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO DWELLING./RN/RNCERTIFIED MAIL |  |  |  | FALSE |  |  | GOLD JOHN JR & MARVALINE | 23 CHIMNEY LN |  | CHERRY HILL | 8003 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00023 | 1871 ROUTE 70E | 437.13 | 1 |  |  | CHERRY HILL | 8003 | Deer Park | 2023-01-19 | 2023-01-25 | 2023-02-17 |  | 2023-01-25 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | REPAIR EMERGENCY LIGHTS-ASME A17.1-13 EDITION 2.11 | Notice of Unsafe Structure | Repair or replace emergency lighting./RNFAILED TWICE/RN/RNCERT MAIL# 7019 0160 0000 7548 1696 |  |  | 2023-04-03 | TRUE | 7019 0160 0000 7548 1696 | 2023-01-25 | EVEREST REALTY CO. | DAVID GABLISS | POB 1478 | Englewood Cliffs | 7632 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00022 | 950 Kings Hwy N. | 340.3 | 13 |  |  | Cherry Hill |  |  | 2023-01-16 | 2023-01-24 | 2023-02-16 |  | 2023-01-25 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | repair or replace machine room ceiling /RNFAILED TWICE/RN/RNCERT MAIL# 7019 0160 0000 7548 1689 |  |  | 2023-04-25 | TRUE | 7019 0160 0000 7548 1689 | 2023-01-25 | KSG CHERRY HILL 950, LLC | 1000 CONNEL DR | STE 2300 | BERKLEY HEIGHTS | 7922 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00021 | 51 HADDONFIELD RD | 281.01 | 33 |  |  | Cherry Hill |  |  | 2023-01-20 | 2023-01-24 | 2023-02-20 |  | 2023-01-25 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | stop switch must activate the alarm bell./RNFAILED TWICE/RN/RNCERT MAIL# 7019 0160 0000 7548 1672 |  |  | 2023-02-27 | TRUE | 7019 0160 0000 7548 1672 | 2023-01-25 | 51 HADDONFIELD EQUITIES, LLC | 555 US HWY 1, S | STE 210 | ISELIN | 8830 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00020 | 457 HADDONFIELD RD | 176.01 | 1 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-01-16 | 2023-01-24 | 2023-02-16 |  | 2023-01-25 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | Remove Phase I fire recall switch which is not operational./RNCERT MAIL# 7019 0190 0000 7548 1665 |  |  | 2023-04-25 | TRUE | 7019 0160 0000 7548 1665 | 2023-01-25 | BARUCH CHERRY HILL LLC | 551 FIFTH AVE SUITE 2500 |  | NEW YORK | 10176 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00019 | 401 Cooper Landing Rd | 340.31 | 99 |  | Playa del Sol | Cherry Hill Township |  | Playa Del Sol | 2022-09-20 | 2023-01-24 | 2023-02-16 |  | 2023-01-24 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | FAILED TO COMPLY WITH A NOTICE ISSUED BY THIS AGEN | Notice and Order of Penalty | Label elevators including lobby, controller, machine and disconnect.Phase II operation is not working properly. The car returns to the main floor if call cancel is activated. CERT MAIL# 7019 0160 0000 7548 1658 |  |  | 2023-02-27 | TRUE | 7019 0160 0000 7548 1658 | 2023-01-24 | PLAYA DEL SOL | 401 COOPER LANDING RD |  | CHERRY HILL | 8002 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00018 | 109 PARK PL | 52.01 | 1 | C0109 |  | CHERRY HILL TOWNSHIP | 8002 | Park Place | 2023-01-17 | 2023-01-20 | 2023-01-20 |  | 2023-01-20 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO DWELLING./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 3171/RN |  |  |  | FALSE |  |  | TESMAN, LILY | 109 PARK PLACE |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00017 | 108 PARK PL | 52.01 | 1 | C0108 |  | CHERRY HILL TOWNSHIP | 8002 | Park Place | 2023-01-17 | 2023-01-20 | 2023-01-20 |  | 2023-01-20 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | FIRE DAMAGE TO DWELLING./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4420/RN |  |  |  | FALSE |  |  | GROSSMAN VIRGINIA JANE | 108 PARK PLACE |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00016 | 1138 WINDING DR | 526.02 | 9 |  |  | CHERRY HILL TOWNSHIP | 8003 | Voken Tract | 2023-01-11 | 2023-01-18 | 2023-02-17 |  | 2023-01-18 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | 5:23-2.31 Compliance (a) & (b) | Notice and Order of Penalty | Obstructed access of the township and its contractors to lawfully demolish the home on January 11, 2023 as lawfully permitted./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4192 |  |  |  | FALSE |  |  | WILLIAMS, DENISE | PO BOX 3525 |  | CHERRY HILL | 8034 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00015 | 1138 WINDING DR | 526.02 | 9 |  |  | CHERRY HILL TOWNSHIP | 8003 | Voken Tract | 2022-07-18 | 2023-01-18 |  |  | 2023-01-18 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | 5:23-2.31 Compliance (a) & (b) | Notice and Order of Penalty | Failed to comply with Demolition Order dated July 7, 2022 wherein requiring demolition by July 29, 2022./RN/RNCertified Mail # 7019 0160 0000 7548 4185 |  |  |  | FALSE |  |  | WILLIAMS, DENISE | PO BOX 3525 |  | CHERRY HILL | 8034 |  | 25000 | . | 25000 |  |  |  | FALSE | [26 empty] | No
V-23-00014 | 2110 RT 70 E, UNITS 1, 12, 13 | 470.1 | 16 |  |  | CHERRY HILL TOWNSHIP | 8003 |  | 2022-11-21 | 2023-01-17 | 2023-02-17 |  | 2023-01-17 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | NJAC 5:23-2.15(b) Contractor Reponsible on Applica | Notice of Violation and Order To Terminate | MUST SUBMIT CHANGE OF CONTRACTOR FOR BUILDING, ELECTRICAL, PLUMBING AND FIRE PROTECTION./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4581 |  |  | 2023-03-07 | TRUE |  |  | 2110 ROUTE 70 LLC | 10 GWEN COURT |  | CHERRY HILL | 8003 |  | . | . | . |  |  |  | FALSE |  |  | B E P | 20222637 | [7 empty] | 2022-07-21 | 2022-08-08 | 131117 | CA and Close Date Issued |  |  | Alteration | BATH RENOVATION | - (3 BATHROOMS), UNITS 1, 12, 13 | 999 | B | B | Private | Non Residential | 2023-03-07 | Yes
V-23-00013 | 2458 RT 38 | 333.02 | 1 |  |  | CHERRY HILL TOWNSHIP | 8002 |  | 2023-01-09 | 2023-01-10 |  |  | 2023-01-10 | TRUE | Administrative |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-2.32 UNSAFE STRUCTURE | Notice of Unsafe Structure | /RNBUILDING IS STRUCTURALLY DEFICIENT (SEE ENGINEER'S REPORT DATED 11/2/21), UNSECURED PROPERTY AND BUILDING IS NOT WEATHER PROTECTED./RN/RNCERTIFIED MAIL # 7019 0160 7548 4901 |  |  |  | FALSE |  |  | CHERRY HILL ACQUISTIONS LLC | PO BOX 379 |  | HAZLET | 7730 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00012 | 2151 Route 38 E-East Bldg | 285.25 | 6 |  |  | Cherry Hill |  | Cherry Hill Towers | 2022-12-02 | 2023-01-09 | 2023-02-09 |  | 2023-01-09 | FALSE | Elevator | CHERRY HILL TOWERS | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00110-001-ELT99-3/RNStar symbol must represent the designated recall level (2nd floor not 1st floor),Secure escape hatch from top of car openable without tools and repair or replace switch,Clean pits./RNCERT MAIL# 7019 0160 0000 7548 1641 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1641 | 2023-01-09 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00011 | 2151 Route 38 E-East Bldg | 285.25 | 6 |  |  | Cherry Hill |  | Cherry Hill Towers | 2022-12-02 | 2023-01-09 | 2023-02-09 |  | 2023-01-09 | FALSE | Elevator | CHERRY HILL TOWERS | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00110-001-ELT99-2/RNStar symbol must represent the designated recall level (2nd floor not 1st floor),Secure escape hatch from top of car openable without tools and repair or replace switch,Clean pits./RNON VIOLATION/RNCERT MAIL# 7019 0160 0000 7548 1641 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1641 | 2023-01-09 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00010 | 2141 RT 38 | 285.25 | 6 |  |  | CHERRY HILL TOWNSHIP | 8002 | Cherry Hill Towers | 2022-12-02 | 2023-01-09 | 2023-02-09 |  | 2023-01-09 | FALSE | Elevator | CHERRY HILL TOWERS | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00110-001-ELT99-1/RNStar symbol must represent the designated recall level (2nd floor not 1st floor),Secure escape hatch from top of car openable without tools and repair or replace switch,Clean pits./RNCERT MAIL# 7019 0160 0000 7548 1641 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1641 | 2023-01-09 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00009 | 2141 RT 38 | 285.25 | 6 |  |  | CHERRY HILL TOWNSHIP | 8002 | Cherry Hill Towers | 2022-12-02 | 2023-01-09 | 2023-01-10 |  | 2023-01-09 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00109-001-ELT99-P3/RNFAILED TWICE-Star symbol must represent the designated recall floor(2nd floor not 1st)./RNReplace missing capacity plate inside elevator./RNCall cancel not working on phase II fireman's service operation./RNCERT MAIL# 7019 0160 0000 7548 1634 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1634 | 2023-01-09 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00008 | 2141 RT 38 | 285.25 | 6 |  |  | CHERRY HILL TOWNSHIP | 8002 | Cherry Hill Towers | 2022-12-02 | 2023-01-09 | 2023-01-10 |  | 2023-01-09 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00109-001-ELT99-2/RNFAILED TWICE-Escape hatch switches have not been repaired./RN/RNCERT MAIL# 7019 0160 0000 7548 1634 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1634 | 2023-01-09 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00007 | 2141 RT 38, E | 285.25 | 6 |  |  | CHERRY HILL TOWNSHIP | 8002 | Cherry Hill Towers | 2022-12-02 | 2023-01-09 | 2023-01-10 |  | 2023-01-09 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00109-001-ELT99-1/RNFAILED TWICE-Escape hatch switches have not been repaired./RN/RNCERT MAIL# 7019 0160 0000 7548 1634 |  |  | 2023-03-13 | TRUE | 7019 0160 0000 7548 1634 | 2023-01-09 | AP MA I CHT OWNER LLC | 11 E 44TH STREET #1000 |  | NEW YORK | 10017 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00006 | 1901 RT 70,E | 472.01 | 10 |  |  | CHERRY HILL | 8003 |  | 2022-12-02 | 2023-01-09 | 2023-02-09 |  | 2023-01-09 | FALSE | Elevator |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-12.1 - VIOLATION OF ELEVATOR SAFETY SUBC | Notice of Unsafe Structure | 0409-00289-001-P1/RNFAILED TWICE-Fire service stop switch not working/RN/RNCERT MAIL# 7019 0160 0000 7548 1627 |  |  |  | FALSE | 7019 0160 0000 7548 1627 | 2023-01-09 | WSFS BANK | 1901 RT 70,E |  | CHERRY HILL | 8003 |  | . | . | . |  |  |  | FALSE | [26 empty] | No
V-23-00005 | 362 LINCOLN AVE N | 188.01 | 20 |  |  | CHERRY HILL TOWNSHIP | 8002 | Woodland | 2023-01-05 | 2023-01-06 | 2023-02-06 |  | 2023-01-06 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | ABOVE GROUND SWIMMING POOL WITHOUT CONSTRUCTION PERMIT./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4628 |  |  |  | FALSE |  |  | CURTIS, ANDRE L & VANESSA T | 362 LINCOLN AVENUE N |  | CHERRY HILL | 8002 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00004 | 415 DORAL DR | 528.39 | 9 |  |  | CHERRY HILL TOWNSHIP | 8003 | Woodcrest | 2022-12-15 | 2023-01-05 | 2023-02-06 |  | 2023-01-05 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | CHANGE OF USE (R-5 TO R-2) - 5:23-6.31 | Notice and Order of Penalty | /RNCERTIFIED MAIL # 7019 0160 0000 7548 4352 |  | Fred, Kuhn added on Wednesday, January 18, 2023 at 16:14/RN Haci came into the office with an Asian women who had the violation/RN/RN |  | FALSE |  |  | 415 DORAL LLC | 415 DORAL DRIVE |  | CHERRY HILL | 8003 |  | 2000 | . | 2000 |  |  |  | FALSE | [26 empty] | No
V-23-00003 | 415 DORAL DR | 528.39 | 9 |  |  | CHERRY HILL TOWNSHIP | 8003 | Woodcrest | 2022-12-15 | 2023-01-05 | 2023-02-06 |  | 2023-01-05 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | GARAGE CONVERSION, BASEMENT RENOVATION, LIVING ROOM CONVERSION TO BEDROOM, FURNACE & A/C REPLACEMENT & RADON SYSTEM WITHOUT CONSTRUCTION PERMITS./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4352 |  | Fred, Kuhn added on Friday, February 10, 2023 at 07:03/RN Received permit application for the Radon system Control #: 133876/RN/RNFred, Kuhn added on Wednesday, January 18, 2023 at 16:14/RN Haci came into the office with an Asian women who had the violation/RN/RN |  | FALSE |  |  | 415 DORAL LLC | 415 DORAL DRIVE |  | CHERRY HILL | 8003 |  | 2000 | . | 2000 |  |  |  | FALSE |  |  | B E | 20230583 | [7 empty] | 2023-02-06 | 2023-02-22 | 133876 | Prior Approval |  |  | Alteration | RADON SYSTEM |  | 999 | R-5 |  | Private | Residential |  | Yes
V-23-00002 | 431 PRINCETON AVE | 185.01 | 11 |  |  | CHERRY HILL TOWNSHIP | 8002 | Woodland | 2022-12-21 | 2023-01-03 | 2023-02-03 |  | 2023-01-03 | TRUE | Administrative |  | Fred Kuhn | ASME A17.1-13 EDITION | NJAC 5:23-2.15(b) Contractor Reponsible on Applica | Notice of Violation and Order To Terminate | MUST SUBMIT CHANGE OF CONTRACTOR./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4376/RN/RN |  |  | 2023-03-03 | FALSE |  |  | MOHOLLEN, JAMES P | 431 PRINCETON AVE |  | CHERRY HILL | 8002 |  | . | . | . |  |  |  | FALSE |  |  | B E F P M | 20221896 | [7 empty] | 2022-02-23 | 2022-06-13 | 128931 | CO and Close Date Issued |  |  | Addition/Alteration | ADDITION & RECONSTRUCTION/NJAC 5:23 6.7 & 6.32 |  | 999 | R-5 | R-5 | Private | Residential | 2023-03-03 | Yes
V-23-00001 | 35 CONWELL AVE | 367.01 | 22 |  |  | CHERRY HILL TOWNSHIP | 8002 | Erlton South | 2023-01-03 | 2023-01-03 | 2023-02-03 |  | 2023-01-03 | TRUE | Administrative |  | Fred Kuhn | International Building Code NJ Edition 2018 | WORKING WITHOUT REQUIRED CONSTRUCTION PERMIT - NJA | Notice and Order of Penalty | DEMOLITION OF GARAGE WITHOUT CONSTRUCTION PERMIT./RN/RNCERTIFIED MAIL # 7019 0160 0000 7548 4345 |  |  |  | FALSE |  |  | SEARCH, JANICE E & PAPPAS, E M | 35 CONWELL AVE |  | CHERRY HILL | 8002 |  | 2000 | . | 2000 |  |  |  | FALSE |  |  | B E F P | 20210195 | [7 empty] | 2020-07-27 | 2021-01-29 | 120922 | Open |  |  | Alteration | ALTERATIONS | #NAME? | 999 | U |  | Private | Non Residential |  | Yes