## Sheet0
Address | File# | File Status | Violation | OpenDate | Vio Status | Description
25 East Sheffield Avenue E6 | 18-000033 | Open | Walls and Ceilings Generally | 01/02/2018 | Open | Walls & ceilings
250 South VAN BRUNT Street | 18-000038 | Open | Imminent Hazard | 01/03/2018 | Open | ORDER TO VACATE
1 REGENCY Circle | 18-000065 | Open | Imminent Hazard | 01/09/2018 | Open | FIRE CALL BROKEN SPRINKLER
88 BROWNSTONE WAY Way | 18-000067 | Open | Working without a permit | 02/02/2018 | Open | FIRE DEPT CALL OUT. WATER DAMAGE AND ALARM
114 WOOD Street | 18-000142 | Open | Working without a permit | 03/27/2018 | Open | CCO
127 West FOREST Avenue 07631 | 18-000261 | Open | Notice of Violation and Order to Terminate | 02/02/2018 | Open | MUST REMOVE VEHICLES FROM UNPAVED SURFACE ( VEHICLES ON GRASS )
127 West FOREST Avenue 07631 | 18-000262 | Open | Notice of Violation and Order to Terminate | 02/02/2018 | Open | REMOVE VEHICLES FROM UNPAVED SURFACES ( VEHICLES ARE ON GRASS )
51 West HUDSON Avenue | 18-000275 | Open | Order of Penalty | 01/17/2020 | Open | SERVICE & SUBPANELS
51 West HUDSON Avenue | 18-000275 | Open | Working without a permit | 08/16/2019 | Open | SERVICE & SUBPANELS
67 KNAPP PLACE Place 07631 | 18-000295 | Open | Requirements for providing heat from September 1 to May 31 | 02/09/2018 | Open | NO HEAT TEMP 56.8%F
67 KNAPP PLACE Place 07631 | 18-000295 | Open | Requirements for providing heat from September 1 to May 31 | 02/09/2018 | Open | NO HEAT TEMP 56.8%F
96 WEST Street | 18-000297 | Open | Storage in Open Prohibited | 02/12/2018 | Open | STORAGE AND PARKING IS PROHIBITED IN DOWNTOWN DISTRICTS
479 Tenafly Road | 18-000488 | Open | Refuse | 02/27/2018 | Open | Debris (exterior)
588 JONES Road | 18-000494 | Open | Working without a permit | 04/12/2018 | Open | REPLACE BATHROOM FIXTURES & REWIRE KITCHEN
200 TRY0N Avenue 07631 | 18-000496 | Open | Storage in Open Prohibited | 03/01/2018 | Open | REMOVE ABANDONED VEHICLE
92 CAMBRIDGE Street | 18-000582 | Open | Storage in Open Prohibited | 03/08/2018 | Open | REMOVE ABANDONED VEHICLE
217 TENAFLY Road | 18-000586 | Open | Storage in Open Prohibited | 03/08/2018 | Open | REMOVE ABANDONED VEHICLE
202 CAMBRIDGE Avenue 07631 | 18-000611 | Open | Storage in Open Prohibited | 03/12/2018 | Open | REMOVE ABANDONED VECHILE
412 S VAN BRUNT ST 412 S VAN BRUNT ST | 18-000638 | Open | Notice of Violation and Order to Terminate | 03/14/2018 | Open | 412 South Van Brunt st.
183 First Street | 18-000669 | Open | Refuse | 03/19/2018 | Open | Abandoned vehicle, debris
183 First Street | 18-000669 | Open | Storage in Open Prohibited | 03/19/2018 | Open | Abandoned vehicle, debris
308 Garden Street | 18-000670 | Open | Tight Closing | 03/19/2018 | Open | Exterminator, hot water, entry door ( insulate)
308 Garden Street | 18-000670 | Open | Freedom from infestation | 03/19/2018 | Open | Exterminator, hot water, entry door ( insulate)
308 Garden Street | 18-000670 | Open | Hot and Cold Water | 03/19/2018 | Open | Exterminator, hot water, entry door ( insulate)
308 Garden Street | 18-000670 | Open | Walls and Ceilings Generally | 03/19/2018 | Open | Exterminator, hot water, entry door ( insulate)
178 Belmont Street | 18-000915 | Open | Refuse | 04/16/2018 | Open | Tree branch
316 HOWLAND Avenue | 18-001005 | Open | Exterior Siding and Roofs | 04/24/2018 | Open | ROOF NEEDS TO BE REPLACED AND ROOF SUFFIT NEEDS TO BE REPLACED
34 FLORENCE Street | 18-001006 | Open | Storage in Open Prohibited | 04/24/2018 | Open | REMOVE ABANDONED VEHICLES REMOVE REFUSE IN YARD REPAIR MISSING GLASS IN WINDOW SCRAPE AND PAINT EXTERIOR
34 FLORENCE Street | 18-001006 | Open | Refuse | 04/24/2018 | Open | REMOVE ABANDONED VEHICLES REMOVE REFUSE IN YARD REPAIR MISSING GLASS IN WINDOW SCRAPE AND PAINT EXTERIOR
34 FLORENCE Street | 18-001006 | Open | Maintenance of Appearance | 04/24/2018 | Open | REMOVE ABANDONED VEHICLES REMOVE REFUSE IN YARD REPAIR MISSING GLASS IN WINDOW SCRAPE AND PAINT EXTERIOR
308 HIRLIMAN Road | 18-001035 | Open | Refuse | 04/26/2018 | Open | REMOVE REFUSE FROM YARD
308 HIRLIMAN Road | 18-001037 | Open | Refuse | 04/26/2018 | Open | REMOVE REFUSE FROM YARD
191 GREEN Street | 18-001042 | Open | Refuse | 04/26/2018 | Open | REMOVE EMPTY BUCKETS FROM FRONT LAWN
40 BELMONT Street | 18-001083 | Open | Natural Growth | 04/30/2018 | Open | Remove fallen tree that is leaning on a live tree which is causing a HAZARD Tree is in far rear of yard
173 WALDO PL | 18-001098 | Open | Front Yard Parking | 05/01/2018 | Open | REMOVE VEHICLE FROM LAWN
429 CAPE MAY Street | 18-001107 | Open | Easily Opened | 05/02/2018 | Open | REPAIR BROKEN GLASS IN WINDOWS AND REPAIR ROOF
123 WALDO Place | 18-001109 | Open | Front Yard Parking | 05/02/2018 | Open | REMOVE VEHICLES FROM LAWN
225 WALDO Place | 18-001120 | Open | Front Yard Parking | 05/03/2018 | Open | REMOVE CAR FROM LAWN
189 WALDO Place | 18-001123 | Open | Front Yard Parking | 05/03/2018 | Open | REMOVE VEHICLE FROM LAWN
429 CAPE MAY Street | 18-001126 | Open | Maintenance of Appearance | 05/03/2018 | Open | REPAIR BROKEN WINDOW GLASS
255-266 Grand Avenue | 18-001134 | Open | Ground Surfaces | 05/04/2018 | Open | Repair driveway (Forest Ave Entry)
429 CAPE MAY Street | 18-001144 | Open | Maintenance of Appearance | 05/04/2018 | Open | REPAIR BROKEN WINDOWS
200 West Englewood Avenue A3 | 18-001146 | Open | Walls and Ceilings Generally | 05/04/2018 | Open | walls & ceilings, ants,mice
200 West Englewood Avenue A3 | 18-001146 | Open | Freedom from Infestation | 05/04/2018 | Open | walls & ceilings, ants,mice
429 CAPE MAY Street | 18-001147 | Open | Exterior Siding and Roofs | 05/04/2018 | Open | REPAIR ROOF
398 West Palisade Avenue | 18-001176 | Open | Refuse | 05/07/2018 | Open | vehicle, landscape, debris
398 West Palisade Avenue | 18-001176 | Open | Storage in Open Prohibited | 05/07/2018 | Open | vehicle, landscape, debris
398 West Palisade Avenue | 18-001176 | Open | Maintenance of Grounds | 05/07/2018 | Open | vehicle, landscape, debris
185 West Englewood Avenue | 18-001224 | Open | Refuse | 05/11/2018 | Open | debris
303 Lantana Avenue | 18-001314 | Open | Maintenance of Grounds | 05/21/2018 | Open | overgrown grass
184 First Street | 18-001350 | Open | Refuse | 05/24/2018 | Open | eaves,siding, debris, grass, vehicle
184 First Street | 18-001350 | Open | Maintenance of Grounds | 05/24/2018 | Open | eaves,siding, debris, grass, vehicle
184 First Street | 18-001350 | Open | Storage in Open Prohibited | 05/24/2018 | Open | eaves,siding, debris, grass, vehicle
184 First Street | 18-001350 | Open | Maintenance of Appearance | 05/24/2018 | Open | eaves,siding, debris, grass, vehicle
211 Warren Street | 18-001353 | Open | Maintenance of Grounds | 05/24/2018 | Open | grass
188 Warren Street | 18-001417 | Open | Maintenance of Grounds | 06/01/2018 | Open | broken stairs, overgrown grass
188 Warren Street | 18-001417 | Open | Exterior | 06/01/2018 | Open | broken stairs, overgrown grass
18 FLORENCE Street 147 FIRST ST | 18-001428 | Open | Storage in Open Prohibited | 06/01/2018 | Open | REMOVE ABANDONED VEHICLES
356 HOWLAND Avenue | 18-001432 | Open | Exterior Siding and Roofs | 06/04/2018 | Open | REPLACE ROOF AND REPLACE ROOF SUFFIT
423 North Woodland Street | 18-001469 | Open | Maintenance of Grounds | 06/06/2018 | Open | Overgrown grass
343 Levinsohn Place | 18-001505 | Open | Natural Growth | 06/08/2018 | Open | Dead tree
333 Murray Avenue | 18-001533 | Open | Refuse | 06/13/2018 | Open | shingles,debris, grass,windows
333 Murray Avenue | 18-001533 | Open | Tight Closing | 06/13/2018 | Open | shingles,debris, grass,windows
333 Murray Avenue | 18-001533 | Open | Maintenance of Grounds | 06/13/2018 | Open | shingles,debris, grass,windows
333 Murray Avenue | 18-001533 | Open | Maintenance of Appearance | 06/13/2018 | Open | shingles,debris, grass,windows
190 GREEN Street | 18-001550 | Open | Painting | 06/14/2018 | Open | CUT GRASS PAINT HOUSE REPAIR
190 GREEN Street | 18-001560 | Open | Maintenance of Grounds | 06/15/2018 | Open | CUT GRASS REPAIR ROOF SOFFIT PAINT EXTERIOR
190 GREEN Street | 18-001560 | Open | Painting | 06/15/2018 | Open | CUT GRASS REPAIR ROOF SOFFIT PAINT EXTERIOR
190 GREEN Street | 18-001560 | Open | Exterior Siding and Roofs | 06/15/2018 | Open | CUT GRASS REPAIR ROOF SOFFIT PAINT EXTERIOR
429 CAPE MAY Street | 18-001607 | Open | Refuse | 06/19/2018 | Open | REMOVE ,CUT GRASS, REFUSE FROM YARD
100 South DEAN Street | 18-001623 | Open | Imminent Hazard | 08/08/2018 | Open | PM VACUUM
429 CAPE MAY Street | 18-001646 | Open | Exterior Porches | 06/21/2018 | Open | REPAIR FRONT ENTRANCE STAIRS
429 CAPE MAY Street | 18-001660 | Open | Accumulation of Stormwater | 06/22/2018 | Open | POST SIGNAGE (THIS PROPERTY IS MANAGED BY )
429 CAPE MAY Street | 18-001664 | Open | Exterior Siding and Roofs | 06/22/2018 | Open | REPLACE MISSING GUTTERS
279 LIBERTY Road | 18-001671 | Open | Front Yard Parking | 06/25/2018 | Open | REMOVE VEHICLE FROM LAWN
429 CAPE MAY Street | 18-001673 | Open | EXTERIOR STRUCTURAL SOUNDNESS AND GENERAL MAINTENANCE | 06/25/2018 | Open | REPAIR GARAGE SIDE FACE BOARD summons 001819 writen 8/9/2018
50 East SHEFFIELD Avenue | 18-001744 | Open | Storage in Open Prohibited | 07/02/2018 | Open | MUST REMOVE COMMERCIAL VEHICLES FROM PROPERTY BEFORE DUE DATE FAILURE TO OBTAIN CRO (CERTIFICATE OF RENTAL OCCUPANCY) MUST REMOVE ALL TRASH, GARBAGE, DEBRIS AND MASONRY/LANDSCAPING MATERIALS FROM BACK YARD
50 East SHEFFIELD Avenue | 18-001744 | Open | Certificate of Occupancy Required | 07/02/2018 | Open | MUST REMOVE COMMERCIAL VEHICLES FROM PROPERTY BEFORE DUE DATE FAILURE TO OBTAIN CRO (CERTIFICATE OF RENTAL OCCUPANCY) MUST REMOVE ALL TRASH, GARBAGE, DEBRIS AND MASONRY/LANDSCAPING MATERIALS FROM BACK YARD
50 East SHEFFIELD Avenue | 18-001744 | Open | Refuse | 07/02/2018 | Open | MUST REMOVE COMMERCIAL VEHICLES FROM PROPERTY BEFORE DUE DATE FAILURE TO OBTAIN CRO (CERTIFICATE OF RENTAL OCCUPANCY) MUST REMOVE ALL TRASH, GARBAGE, DEBRIS AND MASONRY/LANDSCAPING MATERIALS FROM BACK YARD
340 LEVINSOHN Place | 18-001748 | Open | Working without a permit | 08/15/2019 | Open | WATER HEATER REPLACEMENT
95 North DEAN Street | 18-001818 | Open | Basements and Cellars | 07/09/2018 | Open | ILLEGAL ROOMING UNITS IN MIXED USE OFFICE (CHANGE OF USE) ILLEGAL BED AND BREAKFAST
95 North DEAN Street | 18-001820 | Open | Basements and Cellars | 07/09/2018 | Open | ILLEGAL ROOMING UNITS IN MIXED USE OFFICE (CHANGE OF USE) ILLEGAL BED & BREAKFAST
509 ENGLE Street | 18-001825 | Open | Painting | 07/09/2018 | Open | MUST PAINT HOUSE, FIX ROOF AND KEEP THE PROPERTY IN GOOD STANDARDS (HOUSE)
509 ENGLE Street | 18-001825 | Open | Exterior Siding and Roofs | 07/09/2018 | Open | MUST PAINT HOUSE, FIX ROOF AND KEEP THE PROPERTY IN GOOD STANDARDS (HOUSE)
253 Twisby Place | 18-001944 | Open | Refuse | 07/13/2018 | Open | Refuse (debris)
500 GRAND Avenue | 18-002000 | Open | Imminent Hazard | 07/16/2018 | Open | WATER REPAIR
500 GRAND Avenue | 18-002000 | Open | Imminent Hazard | 07/16/2018 | Open | WATER REPAIR
322 HOWLAND Avenue | 18-002466 | Open | Front Yard Parking | 07/31/2018 | Open | REMOVE VEHICLES FROM LAWN
66 BROOKWAY Avenue | 18-002486 | Open | Working without a permit | 09/07/2018 | Open | INTER. RENOVATION & ENCLOSED PORCH
356 HOWLAND Avenue | 18-002551 | Open | Exterior Siding and Roofs | 08/03/2018 | Open | REPAIR FALLING CEILING INSIDE APARTMENT
356 HOWLAND Avenue | 18-002551 | Open | Appearance of exterior premises and structures | 08/03/2018 | Open | REPAIR FALLING CEILING INSIDE APARTMENT
356 HOWLAND Avenue | 18-002551 | Open | Floors, Interior Walls and Ceilings | 08/03/2018 | Open | REPAIR FALLING CEILING INSIDE APARTMENT
356 HOWLAND Avenue | 18-002551 | Open | Floors, Interior Walls and Ceilings | 08/03/2018 | Open | REPAIR FALLING CEILING INSIDE APARTMENT
379 LANTANA Avenue | 18-002586 | Open | Storage in Open Prohibited | 08/07/2018 | Open | REMOVE ABANDONED VEHICLE NO PARKING ON LAWN
379 LANTANA Avenue | 18-002586 | Open | Front Yard Parking | 08/07/2018 | Open | REMOVE ABANDONED VEHICLE NO PARKING ON LAWN
47 GRANT Street | 18-002590 | Open | Maintenance of Grounds | 08/08/2018 | Open | MUST REMOVE HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DATE MUST TRIM BUSHES FOR ENTIRE PROPERTY
34 GRANT Street | 18-002612 | Open | Storage in Open Prohibited | 08/08/2018 | Open | REMOVE ABANDONED VEHICLE
25 GRANT Street | 18-002615 | Open | EXTERIOR STRUCTURAL SOUNDNESS AND GENERAL MAINTENANCE | 08/09/2018 | Open | REMOVE ABANDONED VEHICLE REMOVE REFUSE FROM YARD REPAIR GARAGE
25 GRANT Street | 18-002615 | Open | Storage in Open Prohibited | 08/09/2018 | Open | REMOVE ABANDONED VEHICLE REMOVE REFUSE FROM YARD REPAIR GARAGE
25 GRANT Street | 18-002615 | Open | Storage in Open Prohibited | 08/09/2018 | Open | REMOVE ABANDONED VEHICLE REMOVE REFUSE FROM YARD REPAIR GARAGE
25 GRANT Street | 18-002615 | Open | Refuse | 08/09/2018 | Open | REMOVE ABANDONED VEHICLE REMOVE REFUSE FROM YARD REPAIR GARAGE
48 GRANT Street | 18-002616 | Open | Storage in Open Prohibited | 08/09/2018 | Open | REMOVE ABANDONED VEHICLE REMOVE REFUSE FROM YARD
48 GRANT Street | 18-002616 | Open | Refuse | 08/09/2018 | Open | REMOVE ABANDONED VEHICLE REMOVE REFUSE FROM YARD
136 JANE Street | 18-002651 | Open | Storage in Open Prohibited | 08/13/2018 | Open | REMOVE ABANDONED VEHICLE
41 FLORENCE Street | 18-002667 | Open | Storage in Open Prohibited | 08/14/2018 | Open | REMOVE VEHICLE FROM LAWN
221 West HUDSON Avenue | 18-002689 | Open | Storage in Open Prohibited | 08/16/2018 | Open | REMOVE ABANDONED VEHICLE FROM LAWN
366 LIBERTY Road | 18-002705 | Open | Working without a permit | 05/13/2019 | Open | 2 NEW AC's W/ DUCT WORK & DUCTLESS - 9 RUNS FLEX DUCTWORK
366 LIBERTY Road | 18-002705 | Open | Working without a permit | 07/08/2019 | Open | 2 NEW AC's W/ DUCT WORK & DUCTLESS - 9 RUNS FLEX DUCTWORK
262 PINDLE Avenue | 18-002746 | Open | Refuse | 08/21/2018 | Open | REMOVE VEHICLES FROM LAWN, CUT THE GRASS,REMOVE REFUSE, REPAIR FENCE
262 PINDLE Avenue | 18-002746 | Open | Maintenance of Grounds | 08/21/2018 | Open | REMOVE VEHICLES FROM LAWN, CUT THE GRASS,REMOVE REFUSE, REPAIR FENCE
262 PINDLE Avenue | 18-002746 | Open | Front Yard Parking | 08/21/2018 | Open | REMOVE VEHICLES FROM LAWN, CUT THE GRASS,REMOVE REFUSE, REPAIR FENCE
262 PINDLE Avenue | 18-002746 | Open | Maintenance of Appearance | 08/21/2018 | Open | REMOVE VEHICLES FROM LAWN, CUT THE GRASS,REMOVE REFUSE, REPAIR FENCE
94 REIS Avenue | 18-002748 | Open | Imminent Hazard | 08/21/2018 | Open | ORDER TO VACATE / UNSAFE STRUCTURE DUE TO STRUCTURE FIRE
441 ORCHARD Street | 18-002760 | Open | Maintenance of Grounds | 08/22/2018 | Open | LAWN NEEDS TO BE CUT
300 Windsor Road | 18-002791 | Open | Natural Growth | 08/24/2018 | Open | DEAD TREE
81 LAFAYETTE Place | 18-002826 | Open | Exterior Porches | 08/29/2018 | Open | REPAIR FRONT AND BACK STAIRS, REMOVE BUILDING REFUSE, REPAIR CEILINGS ON FIRST FLOOR, NEED WORKING SMOKE ALARMS ,NEED EXTERMINATOR
81 LAFAYETTE Place | 18-002826 | Open | Provide working smoke detectors | 08/29/2018 | Open | REPAIR FRONT AND BACK STAIRS, REMOVE BUILDING REFUSE, REPAIR CEILINGS ON FIRST FLOOR, NEED WORKING SMOKE ALARMS ,NEED EXTERMINATOR
81 LAFAYETTE Place | 18-002826 | Open | Freedom from infestation | 08/29/2018 | Open | REPAIR FRONT AND BACK STAIRS, REMOVE BUILDING REFUSE, REPAIR CEILINGS ON FIRST FLOOR, NEED WORKING SMOKE ALARMS ,NEED EXTERMINATOR
81 LAFAYETTE Place | 18-002826 | Open | Refuse | 08/29/2018 | Open | REPAIR FRONT AND BACK STAIRS, REMOVE BUILDING REFUSE, REPAIR CEILINGS ON FIRST FLOOR, NEED WORKING SMOKE ALARMS ,NEED EXTERMINATOR
81 LAFAYETTE Place | 18-002826 | Open | Floors, Interior Walls and Ceilings | 08/29/2018 | Open | REPAIR FRONT AND BACK STAIRS, REMOVE BUILDING REFUSE, REPAIR CEILINGS ON FIRST FLOOR, NEED WORKING SMOKE ALARMS ,NEED EXTERMINATOR
261 LAFAYETTE Place | 18-002827 | Open | Landscaping | 08/29/2018 | Open | CUT GRASS, REPAIR BROKEN WINDOW GLASS, NEED SMOKE DETECTORS, REPAIR CEILINGS, REMOVE ABANDONED VEHICLE
261 LAFAYETTE Place | 18-002827 | Open | Maintenance of Appearance | 08/29/2018 | Open | CUT GRASS, REPAIR BROKEN WINDOW GLASS, NEED SMOKE DETECTORS, REPAIR CEILINGS, REMOVE ABANDONED VEHICLE
261 LAFAYETTE Place | 18-002827 | Open | Provide working smoke detectors | 08/29/2018 | Open | CUT GRASS, REPAIR BROKEN WINDOW GLASS, NEED SMOKE DETECTORS, REPAIR CEILINGS, REMOVE ABANDONED VEHICLE
261 LAFAYETTE Place | 18-002827 | Open | Walls and Ceilings Generally | 08/29/2018 | Open | CUT GRASS, REPAIR BROKEN WINDOW GLASS, NEED SMOKE DETECTORS, REPAIR CEILINGS, REMOVE ABANDONED VEHICLE
261 LAFAYETTE Place | 18-002827 | Open | Storage in Open Prohibited | 08/29/2018 | Open | CUT GRASS, REPAIR BROKEN WINDOW GLASS, NEED SMOKE DETECTORS, REPAIR CEILINGS, REMOVE ABANDONED VEHICLE
50 ORANGE Street | 18-002862 | Open | Replace or repair stove | 10/01/2018 | Open | CRO
50 ORANGE Street | 18-002862 | Open | Replace or repair stove | 10/01/2018 | Open | CRO
50 ORANGE Street | 18-002862 | Open | Replace or repair stove | 10/01/2018 | Open | CRO
50 ORANGE Street | 18-002862 | Open | Provide working smoke detectors | 10/01/2018 | Open | CRO
50 ORANGE Street | 18-002862 | Open | Provide working smoke detectors | 10/01/2018 | Open | CRO
417 MOUNTAIN VIEW Road | 18-002881 | Open | Refuse | 09/05/2018 | Open | DEBRIS, OVERGROWN GRASS,SCRAPE & PAINT (EXTERIOR)
417 MOUNTAIN VIEW Road | 18-002881 | Open | Maintenance of Grounds | 09/05/2018 | Open | DEBRIS, OVERGROWN GRASS,SCRAPE & PAINT (EXTERIOR)
417 MOUNTAIN VIEW Road | 18-002881 | Open | Maintenance of Appearance | 09/05/2018 | Open | DEBRIS, OVERGROWN GRASS,SCRAPE & PAINT (EXTERIOR)
81 LAFAYETTE Place | 18-002890 | Open | Maintenance of Appearance | 09/06/2018 | Open | REPAIR OR REPLACE FENCE PAINT KITCHEN
81 LAFAYETTE Place | 18-002890 | Open | Walls and Ceilings Generally | 09/06/2018 | Open | REPAIR OR REPLACE FENCE PAINT KITCHEN
165 FIRST Street | 18-002925 | Open | Maintenance of Grounds | 09/10/2018 | Open | MUST REMOVE HIGH GRASS AND WEEDS (TRIMMING OF BUSHES ALSO) MUST REMOVE ABANDONED OR JUNKED VEHICLE FROM DRIVEWAY BEFORE DUE DATE
165 FIRST Street | 18-002925 | Open | Storage in Open Prohibited | 09/10/2018 | Open | MUST REMOVE HIGH GRASS AND WEEDS (TRIMMING OF BUSHES ALSO) MUST REMOVE ABANDONED OR JUNKED VEHICLE FROM DRIVEWAY BEFORE DUE DATE
273 Epps Avenue | 18-002979 | Open | Storage in Open Prohibited | 09/18/2018 | Open | Vehicle
127 FOREST | 18-002994 | Open | Refuse | 09/18/2018 | Open | debris
300 WINDSOR Road | 18-003064 | Open | Natural Growth | 09/24/2018 | Open | REMOVE DEAD TREE FROM FRONT LAWN
300 WINDSOR Road | 18-003064 | Open | Natural Growth | 11/30/2018 | Open | REMOVE DEAD TREE FROM FRONT LAWN
88 BROWNSTONE Way | 18-003074 | Open | Repair water leak from upstairs | 09/24/2018 | Open | REPAIR LEAK IN BED ROOM CEILING IN APARTMENT 307 AT 88 BROWNSTONE WAY
88 BROWNSTONE Way | 18-003074 | Open | Walls and Ceilings Generally | 09/24/2018 | Open | REPAIR LEAK IN BED ROOM CEILING IN APARTMENT 307 AT 88 BROWNSTONE WAY
550 ILLINGWORTH Avenue | 18-003079 | Open | Imminent Hazard | 11/09/2018 | Open | CCO
149 ORANGE Street | 18-003162 | Open | Exterior Porches | 10/03/2018 | Open | CUT GRASS AND SHRUBS, REPAIR FRONT STEPS, REPLACE GLASS IN BROKEN WINDOWS, REPLACE MISSING BANISTER
149 ORANGE Street | 18-003162 | Open | Repair damaged front steps | 10/03/2018 | Open | CUT GRASS AND SHRUBS, REPAIR FRONT STEPS, REPLACE GLASS IN BROKEN WINDOWS, REPLACE MISSING BANISTER
149 ORANGE Street | 18-003162 | Open | Maintenance of Grounds | 10/03/2018 | Open | CUT GRASS AND SHRUBS, REPAIR FRONT STEPS, REPLACE GLASS IN BROKEN WINDOWS, REPLACE MISSING BANISTER
149 ORANGE Street | 18-003162 | Open | Tight Closing | 10/03/2018 | Open | CUT GRASS AND SHRUBS, REPAIR FRONT STEPS, REPLACE GLASS IN BROKEN WINDOWS, REPLACE MISSING BANISTER
145 ORANGE Street | 18-003164 | Open | Maintenance of Grounds | 10/04/2018 | Open | CUT GRASS AND SHRUBS
86 WEST Street | 18-003270 | Open | Display of Certain Merchandise | 10/18/2018 | Open | CHANGE OF USE
277 Walnut Street | 18-003289 | Open | Natural Growth | 10/19/2018 | Open | Dead Trees
76 James Street | 18-003369 | Open | Walls and Ceilings Generally | 10/30/2018 | Open | Walls & Ceilings,counter top
11 CORIANDER Way | 18-003377 | Open | Working without a permit | 08/16/2019 | Open | ELECTRIC HOOK UP FOR HVAC
190 Humphrey Street | 18-003442 | Open | Refuse | 11/05/2018 | Open | Debris, vehicle,
190 Humphrey Street | 18-003442 | Open | Storage in Open Prohibited | 11/05/2018 | Open | Debris, vehicle,
246 WHITE Street | 18-003451 | Open | Certificate of Occupancy Required | 11/07/2018 | Open | FAILURE TO OBTAIN CRO 1,2,3 FLOOR
550 ILLINGWORTH Avenue | 18-003504 | Open | Imminent Hazard | 11/09/2018 | Open | REMOVE SHEETROCK - GARAGE, REMOVE TRELLIS SOME INTERIOR AREAS FOR ARCHITECTURAL INSPECTION
59 East Linden Avenue #12C | 18-003639 | Open | Chimneys, Flue and Vent Attachments | 11/29/2018 | Open | kitchen vent, balcony escape gate, repair hole by gutters, clean carpet
59 East LINDEN Avenue 12C | 18-003698 | Open | Floors, Interior Walls and Ceilings | 12/03/2018 | Open | REPAIR SOFFIT , FIRE ESCAPE GATE, FLU VENT, CARPET CLEANING,
304 WASHINGTON PL | 18-003855 | Open | Imminent Hazard | 01/07/2019 | Open | order to vacate
588 Jones | 19-000004 | Open | Order of Penalty | 01/02/2019 | Open | Occupancy without C/O
82 william | 19-000062 | Open | Notice of Violation and Order to Terminate | 01/07/2019 | Open | Hole in Foundation
340 Grand | 19-000247 | Open | Walls and Ceilings Generally | 12/05/2018 | Open | Walls & ceilings
322 West Englewood Avenue | 19-000514 | Open | Refuse | 02/21/2019 | Open | debris,steps,eaves,scrape & paint, roof & gutters
322 West Englewood Avenue | 19-000514 | Open | Exterior Porches | 02/21/2019 | Open | debris,steps,eaves,scrape & paint, roof & gutters
322 West Englewood Avenue | 19-000514 | Open | Maintenance of Appearance | 02/21/2019 | Open | debris,steps,eaves,scrape & paint, roof & gutters
322 West Englewood Avenue | 19-000514 | Open | Exterior Siding and Roofs | 02/21/2019 | Open | debris,steps,eaves,scrape & paint, roof & gutters
53 South WOODLAND Street | 19-000651 | Open | Imminent Hazard | 04/26/2019 | Open | FLOOD LED LIGHT FIXTURES
53 South WOODLAND Street | 19-000651 | Open | Working without a permit | 10/31/2019 | Open | FLOOD LED LIGHT FIXTURES
45-53 West PALISADE Avenue 409 | 19-000768 | Open | Imminent Hazard | 07/03/2019 | Open | CRO
45-53 West PALISADE Avenue 409 | 19-000768 | Open | Imminent Hazard | 07/03/2019 | Open | CRO
215 Brinckerhoff Court | 19-000818 | Open | Natural Growth | 04/01/2019 | Open | dead trees
370 West Ivy Lane | 19-000836 | Open | Refuse | 04/02/2019 | Open | Debris
288 MARY Street | 19-000908 | Open | Working without a permit | 04/22/2019 | Open | HVAC REPLACEMENT, DUCT-WORK
333 Murray | 19-001176 | Open | Exemptions | 05/10/2019 | Open | Invasive plants (bamboo)
16 East HUDSON AVE | 19-001180 | Open | Working without a permit | 05/14/2019 | Open | KITCHEN AND BATH
114 ELMORE Avenue | 19-001253 | Open | Maintenance of Grounds | 05/16/2019 | Open | MUST CUT HIGH GRASS AND WEEDS BEFORE DUE DATE
42 HILLSIDE Avenue | 19-001276 | Open | Working without a permit | 05/17/2019 | Open | 42 HILLSIDE AVE. METAL CHIMNEY LINER
42 HILLSIDE Avenue | 19-001278 | Open | Working without a permit | 05/18/2019 | Open | Notice of violation and penalty
203 FIRST ST | 19-001286 | Open | Maintenance of Grounds | 05/20/2019 | Open | MUST CUT HIGH GRASS AND WEEDS BEFORE DUE DATE
396 MOUNTAIN VIEW Road | 19-001346 | Voided | Working without a permit | 08/15/2019 | Open | BOX 85 - ROOFTOP SOLAR CANCELLED PERMIT SEE LETTER ATTACHED
5 SQUIRE Court | 19-001361 | Open | Working without a permit | 05/23/2019 | Open | UCC Violation, failure to obtain permit
170 TENAFLY Road | 19-001363 | Open | Maintenance of Grounds | 05/24/2019 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE
195 DAVISON Place | 19-001380 | Open | Notice of Violation and Order to Terminate | 05/29/2019 | Open | Notice of Violation
209 WILBUR Street | 19-001443 | Open | Order of Penalty | 09/06/2019 | Open | KITCHEN/BATH(2)/HVAC REPLACEMENT (2)
28-46 South DEAN Street UNIT 42 | 19-001487 | Open | Imminent Hazard | 06/06/2019 | Open | Notice of Eminent Hazard
54-56 CENTRAL AVE | 19-001515 | Open | Utilities within a Dwelling; Water and Plumbing Facilities | 06/11/2019 | Open | Adequate supply of City water. Every facility using running water for domestic purposes within any building shall be connected to the public water supply system of the City, and the water system shall be maintained in good and operable condition at all times so that sufficient and positive pressure shall be available at a minimum of 15 pounds per square inch and one gallon per minute at all installed hot and cold water faucets at all times, and so that water shall not be contaminated or made unpalatable by any foreign substance
54-56 CENTRAL AVE | 19-001515 | Open | Utilities within a Dwelling; Water and Plumbing Facilities | 06/11/2019 | Open | Adequate supply of City water. Every facility using running water for domestic purposes within any building shall be connected to the public water supply system of the City, and the water system shall be maintained in good and operable condition at all times so that sufficient and positive pressure shall be available at a minimum of 15 pounds per square inch and one gallon per minute at all installed hot and cold water faucets at all times, and so that water shall not be contaminated or made unpalatable by any foreign substance
31 Mattlage Place | 19-001581 | Open | Natural Growth | 06/18/2019 | Open | landscape, dead tree,debris SUMMONS SENT 10/28/19
31 Mattlage Place | 19-001581 | Open | Maintenance of Grounds | 06/18/2019 | Open | landscape, dead tree,debris SUMMONS SENT 10/28/19
31 Mattlage Place | 19-001581 | Open | Refuse | 06/18/2019 | Open | landscape, dead tree,debris SUMMONS SENT 10/28/19
178 JOHN Street | 19-001625 | Open | Painting | 06/20/2019 | Open | MUST PAINT ENTIRE HOUSE ( EXTERIOR ) MUST REPAIR ROOF OF HOUSE MUST REPAIR FRONT PORCH (SOFFIT)
178 JOHN Street | 19-001625 | Open | Exterior Walls, Roofs, etc. | 06/20/2019 | Open | MUST PAINT ENTIRE HOUSE ( EXTERIOR ) MUST REPAIR ROOF OF HOUSE MUST REPAIR FRONT PORCH (SOFFIT)
178 JOHN Street | 19-001625 | Open | Exterior Walls, Roofs, etc. | 06/20/2019 | Open | MUST PAINT ENTIRE HOUSE ( EXTERIOR ) MUST REPAIR ROOF OF HOUSE MUST REPAIR FRONT PORCH (SOFFIT)
202 First Street | 19-001631 | Open | Storage in Open Prohibited | 06/21/2019 | Open | dead tree, abandoned vehicles
202 First Street | 19-001631 | Open | Natural Growth | 06/21/2019 | Open | dead tree, abandoned vehicles
81 LAF | 19-001744 | Open | Working without a permit | 07/03/2019 | Open | STOP WORK ORDER
81 LAFAYETTE Place | 19-001746 | Open | Working without a permit | 07/03/2019 | Open | STOP WORK ORDER AND PENALTY
81 LAFAYETTE Place | 19-001746 | Open | Working without a permit | 07/03/2019 | Open | STOP WORK ORDER AND PENALTY
81 LAFAYETTE PL | 19-001774 | Open | Working without a permit | 07/08/2019 | Open | Notice of violation
390 Lantana | 19-001844 | Open | Storage in Open Prohibited | 07/16/2019 | Open | scrape & paint (exterior), abandoned vehicle
390 Lantana | 19-001844 | Open | Maintenance of Appearance | 07/16/2019 | Open | scrape & paint (exterior), abandoned vehicle
188 Warren Street | 19-001890 | Open | Maintenance of Grounds | 07/18/2019 | Open | OVERGROWN GRASS, STAIRS , EAVES, GUTTERS, DEBRIS
188 Warren Street | 19-001890 | Open | Refuse | 07/18/2019 | Open | OVERGROWN GRASS, STAIRS , EAVES, GUTTERS, DEBRIS
188 Warren Street | 19-001890 | Open | EXTERIOR STRUCTURAL SOUNDNESS AND GENERAL MAINTENANCE | 07/18/2019 | Open | OVERGROWN GRASS, STAIRS , EAVES, GUTTERS, DEBRIS
188 Warren Street | 19-001890 | Open | Exterior Siding and Roofs | 07/18/2019 | Open | OVERGROWN GRASS, STAIRS , EAVES, GUTTERS, DEBRIS
103 LAFAYETTE Place | 19-001929 | Open | Working without a permit | 07/23/2019 | Open | Installed one AC unit. Void, sent to wrong address
259 Pindle | 19-002034 | Open | Freedom from Accumulations and Obstructions | 08/01/2019 | Open | Accumulation on porch, debris, landscape
259 Pindle | 19-002034 | Open | Refuse | 08/01/2019 | Open | Accumulation on porch, debris, landscape
259 Pindle | 19-002034 | Open | Maintenance of Grounds | 08/01/2019 | Open | Accumulation on porch, debris, landscape
259 Pindle | 19-002034 | Open | Certificate of Occupancy Required | 08/01/2019 | Open | Accumulation on porch, debris, landscape
51 LAFAYETTE Avenue | 19-002036 | Open | Working without a permit | 11/08/2019 | Open | DEMO
255 Pindle Avenue | 19-002060 | Open | Freedom from Accumulations and Obstructions | 08/05/2019 | Open | accumulation (porch), scrape & paint (balcony), CRO
255 Pindle Avenue | 19-002060 | Open | Certificate of Occupancy Required | 08/05/2019 | Open | accumulation (porch), scrape & paint (balcony), CRO
255 Pindle Avenue | 19-002060 | Open | Maintenance of Appearance | 08/05/2019 | Open | accumulation (porch), scrape & paint (balcony), CRO
25 LAFAYETTE Avenue | 19-002093 | Open | Working without a permit | 08/16/2019 | Open | DEMO
25 LAFAYETTE Avenue | 19-002093 | Open | Working without a permit | 11/08/2019 | Open | DEMO
178 JOHN Street | 19-002099 | Open | Painting | 08/08/2019 | Open | MUST PAINT ENTIRE HOUSE ( EXTERIOR ) MUST REPAIR ROOF OF HOUSE MUST REPAIR FRONT PORCH (SOFFIT)
178 JOHN Street | 19-002099 | Open | Exterior Walls, Roofs, etc. | 08/08/2019 | Open | MUST PAINT ENTIRE HOUSE ( EXTERIOR ) MUST REPAIR ROOF OF HOUSE MUST REPAIR FRONT PORCH (SOFFIT)
178 JOHN Street | 19-002099 | Open | Exterior Siding and Roofs | 08/08/2019 | Open | MUST PAINT ENTIRE HOUSE ( EXTERIOR ) MUST REPAIR ROOF OF HOUSE MUST REPAIR FRONT PORCH (SOFFIT)
61 Highwood Avenue | 19-002129 | Open | Maintenance of Grounds | 08/12/2019 | Open | Landscape
46 cottage Place | 19-002130 | Open | Maintenance of Grounds | 08/12/2019 | Open | Landscape
174 CAMBRIDGE Avenue | 19-002279 | Open | Working without a permit | 10/09/2019 | Open | CHIMNEY LINER
150 South DEAN Street | 19-002384 | Open | Maintenance of Grounds | 09/06/2019 | Open | MUST REMOVE HIGH GRASS AND WEEDS FROM ENTIRE PROPERTY BEFORE DUE DATE MUST REMOVE TRASH AND DEBRIS FROM ENTIRE PROPERTY BEFORE DUE DATE
150 South DEAN Street | 19-002384 | Open | Refuse | 09/06/2019 | Open | MUST REMOVE HIGH GRASS AND WEEDS FROM ENTIRE PROPERTY BEFORE DUE DATE MUST REMOVE TRASH AND DEBRIS FROM ENTIRE PROPERTY BEFORE DUE DATE
103 LAKE Street | 19-002433 | Open | Working without a permit | 09/12/2019 | Open | Notice of Penalty
115 Reis | 19-002437 | Open | Working without a permit | 09/12/2019 | Open | Working without permit
220 Woodland | 19-002438 | Open | Imminent Hazard | 09/12/2019 | Open | Failure to make pool safe. Lack of proper pool enclosure.
464 MYRTLE Avenue | 19-002561 | Open | Conversions prohibited during winter | 09/27/2019 | Open | ILLEGAL CONVERSION IN A ONE FAMILY DISTRICT
464 MYRTLE Avenue | 19-002562 | Open | Certificate of Occupancy Required | 09/27/2019 | Open | FAILURE TO OBTAIN CRO BEFORE MOVE-IN (CERTIFICATE OF RENTAL OCCUPANCY)
112 OTSEGO PL | 19-002569 | Open | Imminent Hazard | 09/30/2019 | Open | Order to Vacate
140 WEST END Avenue | 19-002674 | Open | Refuse | 10/07/2019 | Open | MUST CLEAN UP ENTIRE PROPERTY FROM GARBAGE AND DEBRIS MUST REMOVE ALL RECREATIONAL VEHICES FROM PROPERTY (RV)
140 WEST END Avenue | 19-002674 | Open | Storage in Open Prohibited | 10/07/2019 | Open | MUST CLEAN UP ENTIRE PROPERTY FROM GARBAGE AND DEBRIS MUST REMOVE ALL RECREATIONAL VEHICES FROM PROPERTY (RV)
21 East PALISADE Avenue | 19-002675 | Open | Working without a permit | 10/07/2019 | Open | RED,WHITE&PASTA GAS FIRED HOT WATER HEATER NO UCC PERMIT
21 East PALISADE Avenue | 19-002675 | Open | Working without a permit | 10/07/2019 | Open | RED,WHITE&PASTA GAS FIRED HOT WATER HEATER NO UCC PERMIT
21 East PALISADE Avenue | 19-002675 | Open | Working without a permit | 10/07/2019 | Open | RED,WHITE&PASTA GAS FIRED HOT WATER HEATER NO UCC PERMIT
217 THIRD Street | 19-002799 | Open | Maintenance of Grounds | 10/21/2019 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE
191 First Street | 19-002959 | Open | Bathrooms, Water Closets | 11/08/2019 | Open | trees
191 First Street | 19-002959 | Open | Floors, Interior Walls and Ceilings | 11/08/2019 | Open | trees
191 First Street | 19-002959 | Open | Basement Smoke Detectors | 11/08/2019 | Open | trees
414 Mountain View | 19-002967 | Open | Natural Growth | 11/08/2019 | Open | MUST REMOVE DEAD OR DYING TREE(S) FROM BACK YARD
191 First Street | 19-002968 | Open | Bathroom, Water Closet Compartment and Kitchen Floors | 11/08/2019 | Open | electrical outlets(kitchen), window malfunctions, kitchen tiles, leak bathroom ceiling, bathtub tiles, floors(living rm), detectors, leak under sink
191 First Street | 19-002968 | Open | Maintenance of plumbing facilities | 11/08/2019 | Open | electrical outlets(kitchen), window malfunctions, kitchen tiles, leak bathroom ceiling, bathtub tiles, floors(living rm), detectors, leak under sink
191 First Street | 19-002968 | Open | Provide working smoke detectors | 11/08/2019 | Open | electrical outlets(kitchen), window malfunctions, kitchen tiles, leak bathroom ceiling, bathtub tiles, floors(living rm), detectors, leak under sink
191 First Street | 19-002968 | Open | Overloading of circuits | 11/08/2019 | Open | electrical outlets(kitchen), window malfunctions, kitchen tiles, leak bathroom ceiling, bathtub tiles, floors(living rm), detectors, leak under sink
191 First Street | 19-002968 | Open | Walls and Ceilings Generally | 11/08/2019 | Open | electrical outlets(kitchen), window malfunctions, kitchen tiles, leak bathroom ceiling, bathtub tiles, floors(living rm), detectors, leak under sink
18-22 ENGLE Street | 19-003012 | Open | Display of Certain Merchandise | 11/18/2019 | Open | MUST OBTAIN SIGN PERMIT FOR THE RED CUBE SIGNAGE
184 SECOND Street | 19-003024 | Open | Refuse | 11/19/2019 | Open | ACCUMULATION OF DEBRIS IN THE (BACKYARD) KEEP GRASS AND EDGES TRIMMED AT ALL TIMES
184 SECOND Street | 19-003024 | Open | Natural Growth | 11/19/2019 | Open | ACCUMULATION OF DEBRIS IN THE (BACKYARD) KEEP GRASS AND EDGES TRIMMED AT ALL TIMES
203 First Street | 19-003025 | Open | Definitions | 11/20/2019 | Open | REMOVE ABANDONED VEHICLE WITH NO PLATES
203 First Street | 19-003025 | Open | Definitions | 11/20/2019 | Open | REMOVE ABANDONED VEHICLE WITH NO PLATES
203 FIRST | 19-003031 | Open | Definitions | 11/20/2019 | Open | REMOVE ABANDONED VEHICLE WITH NO PLATES
185 SECOND ST | 19-003032 | Open | Definitions | 11/20/2019 | Open | REMOVE ABANDONED VEHICLE WITH NO PLATES
257 WASHINGTON Place | 19-003090 | Open | Definitions | 12/03/2019 | Open | REMOVE ABANDONED VEHICLES
285 West PALISADES Avenue | 19-003102 | Open | Refuse | 12/03/2019 | Open | REMOVE DEBRIS IN BACKYARD
375 MILLER Avenue | 19-003142 | Open | Definitions | 12/06/2019 | Open | REMOVE ABANDONED VEHICLE
117 CEDAR Lane | 19-003242 | Open | Storage of Commercial and Industrial Material | 12/16/2019 | Open | MUST REMOVE OUTDOOR STORAGE FROM PARKING LOT AREA BEFORE DUE DATE
128 ELMORE Avenue | 20-000018 | Open | Definitions | 01/06/2020 | Open | REMOVE ABANDONED VEHICLE
369 MILLER Avenue | 20-000021 | Open | Definitions | 01/06/2020 | Open | REMOVE ABANDONED VEHICLE
300 WINDSOR Road | 20-000025 | Open | Natural Growth | 01/06/2020 | Open | MUST REMOVE DEAD OR DYING TREE FROM FRONT YARD OF PROPERTY
303 TENAFLY Road | 20-000054 | Open | Maintenance of Grounds | 01/08/2020 | Open | MAINTAIN APPEARANCE OF GROUNDS
21 BROWNSTONE Way | 20-000097 | Open | Signs | 01/14/2020 | Open | PROHIBITED SIGNS ATTACHED TO CITY PROPERTY
93 PARK Avenue | 20-000117 | Open | Definitions | 01/16/2020 | Open | REMOVE ABANDONED VEHICLE
2 ENGLE Street | 20-000150 | Open | Signs | 01/22/2020 | Open | MUST REMOVE WINDOW SIGNS FROM STORE WINDOWS MUST OBTAIN SIGN PERMIT FOR AWNING MUST REPLACE ANWING
2 ENGLE Street | 20-000150 | Open | Signs | 01/22/2020 | Open | MUST REMOVE WINDOW SIGNS FROM STORE WINDOWS MUST OBTAIN SIGN PERMIT FOR AWNING MUST REPLACE ANWING
2 ENGLE Street | 20-000150 | Open | Signs | 01/22/2020 | Open | MUST REMOVE WINDOW SIGNS FROM STORE WINDOWS MUST OBTAIN SIGN PERMIT FOR AWNING MUST REPLACE ANWING
345 Liberty Road | 20-000184 | Open | Artificial lighting | 01/24/2020 | Open | artificial lighting
156 elm | 20-000210 | Open | Working without a permit | 01/27/2020 | Open | Notice of violation and penalty
353 North Woodland Street | 20-000271 | Open | Refuse | 02/04/2020 | Open | MUST REMOVE GARBAGE AND CONSTRUCTION DEBRIS FROM BACK YARD AND SIDE YARD (BROKEN PALLETS AND SLABS OF STONES)
29 BENNETT Road APT 1L | 20-000329 | Open | Cleanliness and Sanitation | 02/11/2020 | Open | MUST CLEAN APARTMENT APT 1L MUST KEEP APARTMENT FREE OF INFESTATION
29 BENNETT Road APT 1L | 20-000329 | Open | Garbage Disposal | 02/11/2020 | Open | MUST CLEAN APARTMENT APT 1L MUST KEEP APARTMENT FREE OF INFESTATION
275 THOMSON AVE | 20-000330 | Open | Refuse | 02/11/2020 | Open | MUST REMOVE TRASH AND DEBRIS FROM ENTIRE PROPERTY MUST REMOVE VEHICLES FROM FRONT YARD AND OFF GRASS MUST REMOVE COMMERCIAL VEHICLE FROM PROPERTY
275 THOMSON AVE | 20-000330 | Open | Storage in Open Prohibited | 02/11/2020 | Open | MUST REMOVE TRASH AND DEBRIS FROM ENTIRE PROPERTY MUST REMOVE VEHICLES FROM FRONT YARD AND OFF GRASS MUST REMOVE COMMERCIAL VEHICLE FROM PROPERTY
275 THOMSON AVE | 20-000330 | Open | Front Yard Parking | 02/11/2020 | Open | MUST REMOVE TRASH AND DEBRIS FROM ENTIRE PROPERTY MUST REMOVE VEHICLES FROM FRONT YARD AND OFF GRASS MUST REMOVE COMMERCIAL VEHICLE FROM PROPERTY
152 SECOND | 20-000333 | Open | Definitions | 02/11/2020 | Open | REMOVE ABANDONED VEHICLE
205 THIRD | 20-000335 | Open | Refuse | 02/11/2020 | Open | MUST REMOVE ACCUMULATION OF GARBAGE AND DEBRIS FROM PROPERTY
361 North WOODLAND Street | 20-000395 | Open | Refuse | 02/19/2020 | Open | MUST CLEAN CONSTRUCTION DEBRIS FROM FRONT YARD
353 North woodland Street | 20-000405 | Open | Notice of Violation and Order to Terminate | 02/19/2020 | Open | Notice and order to correct
353 North woodland Street | 20-000405 | Open | Working without a permit | 02/19/2020 | Open | Notice and order to correct
82 South ROOSEVELT | 20-000440 | Open | Refuse | 02/24/2020 | Open | REMOVE GARBAGE AND DEBRIS FROM SIDE OF THE HOUSE
184 SECOND Street | 20-000524 | Open | Storage in Open Prohibited | 03/03/2020 | Open | FAILURE TO REMOVE COMMERCIAL VEHICLE FROM ONE FAMILY DISTRICT
418 LIBERTY Road | 20-000538 | Open | Refuse | 03/04/2020 | Open | REMOVE GARBAGE AND DEBRIS FROM THE FRONT OF PROPERTY
276 West Palisade Avenue Apt #1 | 20-000540 | Open | Freedom from infestation | 02/25/2020 | Open | Roaches,mice, ceiling
276 West Palisade Avenue Apt #1 | 20-000540 | Open | Walls and Ceilings Generally | 02/25/2020 | Open | Roaches,mice, ceiling
338 LEVINSOHN Place | 20-000541 | Open | Definitions | 03/04/2020 | Open | REMOVE ABANDONED VEHICLE
42 JAMES Street | 20-000557 | Open | Working without a permit | 03/06/2020 | Open | Notice of Violation
149 ORANGE Street | 20-000585 | Open | Working without a permit | 03/11/2020 | Open | Notice and order of penalty
263 Pindle Avenue #4 | 20-000600 | Open | Installation and maintenance of heating facilities | 03/11/2020 | Open | heating ( radiator)
115 William Street | 20-000616 | Open | Lighting; electrical services (Generally) | 03/16/2020 | Open | Smoke & carbon monoxide, roaches, mice, extinguisher, electric (light switch)
115 William Street | 20-000616 | Open | Provide working smoke detectors | 03/16/2020 | Open | Smoke & carbon monoxide, roaches, mice, extinguisher, electric (light switch)
115 William Street | 20-000616 | Open | Freedom from infestation | 03/16/2020 | Open | Smoke & carbon monoxide, roaches, mice, extinguisher, electric (light switch)
193 SECOND ST | 20-000621 | Open | Definitions | 03/18/2020 | Open | MUST REMOVE ABANDONED VEHICLE
195 SECOND ST | 20-000622 | Open | Definitions | 03/18/2020 | Open | MUST REMOVE ABANDONED VEHICLE
401 CUMBERLAND ST | 20-000643 | Open | Working without a permit | 03/27/2020 | Open | Notice of violation
101 West ROUTE 4 | 20-000653 | Open | Building kept clean, unobstructed | 04/01/2020 | Open | MUST CLEAN ENTIRE PROPERTY (OUTSIDE FROM GARBAGE AND DEBRIS) LANDSCAPING DEBRIS
355 THORNTON Road | 20-000654 | Open | Working without a permit | 04/01/2020 | Open | Stop work order
426 lydecker | 20-000803 | Open | Working without a permit | 05/18/2020 | Open | Stop work, Notice of violation
184 First Street | 20-000806 | Open | Refuse | 05/19/2020 | Open | ** ISSUE NO PERMITS OR CCO ** ** SEE PROPERTY MAINTENANCE ** Structure, debris, landscape
184 First Street | 20-000806 | Open | Maintenance of Grounds | 05/19/2020 | Open | ** ISSUE NO PERMITS OR CCO ** ** SEE PROPERTY MAINTENANCE ** Structure, debris, landscape
184 First Street | 20-000806 | Open | Maintenance of Appearance | 05/19/2020 | Open | ** ISSUE NO PERMITS OR CCO ** ** SEE PROPERTY MAINTENANCE ** Structure, debris, landscape
163 WALDO Place | 20-000810 | Open | Definitions | 05/19/2020 | Open | REMOVE ABANDONED VEHICLES FROM PROPERTY
457 Grandview Avenue | 20-000851 | Open | Exterior Siding and Roofs | 05/13/2020 | Open | Repair or install downspouts
430 TENAFLY Road | 20-000852 | Open | Landscaping | 05/26/2020 | Open | MUST CUT OVERGROWN SHRUBS AND GRASS BEFORE DUE DATE
403 Shannon Court | 20-000872 | Open | Exemptions | 05/28/2020 | Open | Invasive plant (bamboo)
19 Florence Street | 20-000921 | Open | Maintenance of Grounds | 06/04/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE MUST REMOVE TRASH FROM PROPERTY
19 Florence Street | 20-000921 | Open | Maintenance of Grounds | 06/04/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE MUST REMOVE TRASH FROM PROPERTY
19 Florence Street | 20-000921 | Open | Refuse | 06/04/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE MUST REMOVE TRASH FROM PROPERTY
27 FLORENCE Street | 20-000922 | Open | Maintenance of Grounds | 06/04/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE
30 Florence Street | 20-000923 | Open | Maintenance of Grounds | 06/04/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE
41 FLORENCE Street | 20-000924 | Open | Maintenance of Grounds | 06/04/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE
163 MORRIS Avenue | 20-000925 | Open | Refuse | 06/04/2020 | Open | MUST REMOVE ALL TRASH AND GARBAGE FROM ENITRE PROPERTY (EVERYTHING!!!!!!!!)
196 Second Street | 20-000937 | Open | Storage of Commercial and Industrial Material | 06/04/2020 | Open | abandoned vehicles,grass, industrial equipment, debris
196 Second Street | 20-000937 | Open | Storage in Open Prohibited | 06/04/2020 | Open | abandoned vehicles,grass, industrial equipment, debris
196 Second Street | 20-000937 | Open | Refuse | 06/04/2020 | Open | abandoned vehicles,grass, industrial equipment, debris
196 Second Street | 20-000937 | Open | Maintenance of Grounds | 06/04/2020 | Open | abandoned vehicles,grass, industrial equipment, debris
166 Second Street | 20-000939 | Open | Storage in Open Prohibited | 06/04/2020 | Open | vehicle on grass(abandoned), debris, dead tree, commercial equipment
166 Second Street | 20-000939 | Open | Storage of Commercial and Industrial Material | 06/04/2020 | Open | vehicle on grass(abandoned), debris, dead tree, commercial equipment
166 Second Street | 20-000939 | Open | Refuse | 06/04/2020 | Open | vehicle on grass(abandoned), debris, dead tree, commercial equipment
166 Second Street | 20-000939 | Open | Front Yard Parking | 06/04/2020 | Open | vehicle on grass(abandoned), debris, dead tree, commercial equipment
166 Second Street | 20-000939 | Open | Natural Growth | 06/04/2020 | Open | vehicle on grass(abandoned), debris, dead tree, commercial equipment
179 LAFAYETTE Place | 20-000942 | Open | Maintenance of Grounds | 06/05/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE
50 LAFAYETTE Avenue | 20-000992 | Open | Maintenance of Grounds | 06/10/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE
384 West PALISADE Avenue | 20-000994 | Open | Maintenance of Grounds | 06/10/2020 | Open | MUST CUT HIGH GRASS AND WEEDS FOR ENTIRE PROPERTY BEFORE DUE DATE
475 VALLEY Place | 20-000999 | Open | Landscaping | 06/10/2020 | Open | MUST CLEAN ENTIRE PROPERTY FROM OVERGROWN GRASS AND SHRUBS
136 ELMORE Avenue | 20-001010 | Open | Landscaping | 06/11/2020 | Open | MUST CLEAR ENTIRE PROPERTY FROM OVERGROWN GRASS AND SHRUBS
53 BELMONT Street | 20-001011 | Open | Landscaping | 06/11/2020 | Open | MUST CLEAR ENTIRE PROPERTY FROM OVERGROWN GRASS AND SHRUBS
174 JANE Street | 20-001093 | Open | Notice of Violation and Order to Terminate | 06/22/2020 | Open | Notice of Violation and Order to Vacate
112 ORANGE Street | 20-001140 | Open | Maintenance of Grounds | 06/25/2020 | Open | MUST CLEAN ENTIRE PROPERTY FROM OVERGROWN GRASS AND SHRUBS
85 KNAPP Place | 20-001158 | Open | Maintenance of Grounds | 06/25/2020 | Open | MUST CLEAN ENTIRE PROPERTY FROM OVERGROWN GRASS AND SHRUBS
161 Madison | 20-001185 | Open | Working without a permit | 07/02/2020 | Open | Notice of Violation and Order of Penalty
234 West Englewood Avenue | 20-001213 | Open | Signs | 07/08/2020 | Open | MUST REMOVE SIGN AND OBTAIN SIGN PERMIT
236 West Englewood Avenue | 20-001220 | Open | Signs | 07/08/2020 | Open | MUST REMOVE SIGN AND OBTAIN SIGN PERMIT
234 West Englewood Avenue | 20-001222 | Open | Signs | 07/08/2020 | Open | MUST REMOVE SIGN AND OBTAIN SIGN PERMIT
228 West Englewood Avenue | 20-001238 | Open | Signs | 07/08/2020 | Open | MUST REMOVE SIGN AND OBTAIN SIGN PERMIT
199 West ENGLEWOOOD Avenue | 20-001264 | Open | Removal of Graffiti | 07/09/2020 | Open | MUST REMOVE GRAFFITI FROM FRONT AND SIDE OF BUILDING
592 Jones Road | 20-001281 | Open | Natural Growth | 07/10/2020 | Open | Dead Trees
24 East Hudson | 20-001283 | Open | Refuse | 07/10/2020 | Open | Debris, fence, exterior door
24 East Hudson | 20-001283 | Open | Tight Closing | 07/10/2020 | Open | Debris, fence, exterior door
24 East Hudson | 20-001283 | Open | Maintenance of Appearance | 07/10/2020 | Open | Debris, fence, exterior door
24 East HUDSON Avenue | 20-001331 | Open | Storage in Open Prohibited | 07/16/2020 | Open | MUST REMOVE RV(S) FROM PROPERTY BEFORE DUE DATE FAILURE TO OBTAIN CCO FOR PROPERTY
24 East HUDSON Avenue | 20-001331 | Open | Certificate of Occupancy Required | 07/16/2020 | Open | MUST REMOVE RV(S) FROM PROPERTY BEFORE DUE DATE FAILURE TO OBTAIN CCO FOR PROPERTY
125 OAKLAND Street | 20-001332 | Open | Working without a permit | 07/16/2020 | Open | MUST REMOVE OR APPLY FOR A FENCE PERMIT BEFORE DUE DATE
10 South Dean Street | 20-001346 | Open | EXTERIOR STRUCTURAL SOUNDNESS AND GENERAL MAINTENANCE | 07/17/2020 | Open | FAILURE TO REMOVE TENT FROM SIDEWALK
63 NATHANIEL Place | 20-001347 | Open | Working without a permit | 07/17/2020 | Open | FAILURE TO OBTAIN OUTDOOR CAFE LICENSE (SIDEWALK DINNING)
114 Chestnut Street | 20-001361 | Open | Working without a permit | 07/20/2020 | Open | Notice of violation and order of penalty
155 WALDO Place | 20-001375 | Open | Landscaping | 07/21/2020 | Open | MUST CLEAN ENTIRE PROPERTY FROM OVERGROWN ( GRASS AND SHRUBS)
136 ELMORE Avenue | 20-001389 | Open | Landscaping | 07/23/2020 | Open | MUST CLEAR ENTIRE PROPERTY FROM OVERGROWN GRASS AND SHRUBS.
204 West PALISADE CAMBRIDGE | 20-001399 | Open | Landscaping | 07/24/2020 | Open | MUST CLEAR ENTIRE PROPERTY FROM OVERGROWN GRASS AND SHRUBS.
74 SPRING LN | 96-0208-A | Open | Working without a permit | 07/09/2014 | Open | Migrated Permit
74 SPRING LN | 96-0208-A | Open | Working without a permit | 07/09/2014 | Open | Migrated Permit
336 West IVY LANE | C102-901 | Open | Imminent Hazard | 07/08/2014 | Open | Migrated Permit
154 ORANGE ST | C-1810 | Open | Maintenance of Grounds | 12/04/2015 | Open | Migrated File
154 ORANGE ST | C-1810 | Open | Refuse | 12/04/2015 | Open | Migrated File
126 READE ST | C-1829 | Open | Maintenance of Grounds | 12/04/2015 | Open | Migrated File
126 READE ST | C-1829 | Open | Refuse | 12/04/2015 | Open | Migrated File
390 LANTANA AVE | C-1966 | Open | Painting | 12/04/2015 | Open | Migrated File
390 LANTANA AVE | C-1966 | Open | Storage in Open Prohibited | 12/04/2015 | Open | Migrated File
420 LANTANA AVE | C-2003 | Open | Reconstruction and Maintenance of Sidewalks | 12/08/2015 | Open | Migrated File
176 FIRST ST | C2201-11 | Open | Exterior Porches | 12/04/2015 | Open | Migrated Permit
176 FIRST ST | C2201-11 | Open | Refuse | 12/04/2015 | Open | Migrated Permit
129-131 PARK AVE | C2308-25 | Open | Reconstruction and Maintenance of Sidewalks | 12/04/2015 | Open | Migrated Permit
272 TWISBY PL | C-2633 | Open | Maintenance of plumbing facilities | 03/09/2015 | Open | Migrated File
167 WILLIAM ST | C-3041 | Open | Reconstruction and Maintenance of Sidewalks | 12/08/2015 | Open | Migrated File
107 LAKE ST | C-4382 | Open | Requirements for providing heat from September 1 to May 31 | 12/04/2015 | Open | Migrated File
5 MARKHAM CIRCLE | C-5553 | Open | Imminent Hazard | 03/02/2016 | Open | Migrated File
7 DANIEL DR | C-5665 | Open | Working without a permit | 06/03/2015 | Open | Migrated File
165 KNICKERBOCKER | C-6550 | Open | Maintenance of Grounds | 05/20/2014 | Open | Migrated File
59 CONCORD ST | C-7299 | Open | Working without a permit | 07/30/2014 | Open | Migrated File
59 CONCORD ST | C-7299 | Open | Working without a permit | 07/30/2014 | Open | Migrated File
244 WALDO PL | C-7591 | Open | Exterior Siding and Roofs | 01/13/2014 | Open | Migrated File
300 MANOR RD | C-8857 | Open | Refuse | 01/14/2014 | Open | Migrated File
300 MANOR RD | C-8857 | Open | Refuse | 01/16/2014 | Open | Migrated File
187 JOHN ST | C-9068 | Open | Exterior Siding and Roofs | 01/13/2014 | Open | Migrated File
187 JOHN ST | C-9068 | Open | Refuse | 01/13/2014 | Open | Migrated File
187 JOHN ST | C-9068 | Open | Storage in Open Prohibited | 01/13/2014 | Open | Migrated File
215 THIRD ST | C-9138 | Open | Refuse | 12/04/2015 | Open | Migrated File
215 THIRD ST | C-9138 | Open | Certificate of Occupancy Required | 12/04/2015 | Open | Migrated File
215 THIRD ST | C-9138 | Open | Exterior Siding and Roofs | 12/04/2015 | Open | Migrated File