City of Woodbury

Housing Department

33 Delaware Street, Woodbury, NJ 08096

(856) 845-1300 ext. 132

E-mail jleech@woodbury.nj.us

NOTICE OF ORDER

Inspection Date: June 27, 2019               Issuance Date: June 27, 2019

Compliance Date: July 7, 2019                                       Block: 59 Lot: 8

Name: Anthony Toffoli                                            Location: 417 Salem Avenue Unit-B

Bernadette Toffoli                                                              Woodbury, NJ 08096

Please take notice that inspections conducted by the Housing Official at the above referenced location disclosed that housing and/or safety violations exist which requires immediate action in order to protect the public health and safety. (Statement of violations attached).

Ordinance Number: 2226-15                       Chapter: 106-4

1375-80                                        162-13

Remove trash, debris and etc. from entire property

Properly store trash receptacles out of public view when not placed curbside for pickup

Scrape loose and peeling paint at exterior where needed and repaint

Properly repair walls and ceilings where needed throughout entire dwelling and repaint

Properly repair woodwork where needed throughout entire dwelling

Properly repair subflooring at entrance hallway

Repair or replace flooring where needed throughout entire dwelling

Properly repair or replace light fixtures where needed throughout entire dwelling

Properly repair or replace vanity at bathroom

Properly repair or replace stove

Properly repair or replace oven

Ensure all windows function properly

Repair cracked windowpanes where needed

Provide a Certificate from a Roofing Contractor stating that roof is leak free and in good condition

Take Notice that the City of Woodbury shall also proceed to exercise its police powers to revoke, repair, close, demolish, cause or require the repairing, closing, demolition of such building or, part thereof in the manner provided by the City of Woodbury Ordinances.

You are notified that you, at your own expense, must correct or abate the violation on or before the compliance date. Failure to comply with this order can subject you to a penalty of up to $1000.00 per day for each violation, and legal proceeding shall be instituted against you as provided by law. Each successive day thereafter in which the violation(s) is/are not corrected shall be deemed a separate violation.

John Leech

___________________________