City of Woodbury

Housing Department

33 Delaware Street, Woodbury, NJ 08096

(856) 845-1300 ext. 132

E-mail jleech@woodbury.nj.us

NOTICE OF ORDER

Inspection Date: June 24, 2019               Issuance Date: June 27, 2019

Compliance Date: July 7, 2019                                       Block: 94 Lot: 29

Name: Premendra Dilchand                                     Location: 15 Stuart St

Woodbury, NJ 08096

Please take notice that inspections conducted by the Housing Official at the above referenced location disclosed that housing and/or safety violations exist which requires immediate action in order to protect the public health and safety. (Statement of violations attached).

Ordinance Number: 2226-15                       Chapter: 106-4

Scrape loose and peeling paint at exterior where needed and repaint

Properly repair stucco, exterior trim, woodwork, access panel and etc. and repaint

Repair rain gutters where needed

Re-caulk bath tub and tub surround

Properly repair bathroom subfloor and flooring

Install handrail at basement stairs

Remove standing water from basement

Ensure all windows function properly and are weathertight

Ensure all areas of basement and crawl space are weathertight

Properly repair light switch at 2nd floor stairway

Take Notice that the City of Woodbury shall also proceed to exercise its police powers to revoke, repair, close, demolish, cause or require the repairing, closing, demolition of such building or, part thereof in the manner provided by the City of Woodbury Ordinances.

You are notified that you, at your own expense, must correct or abate the violation on or before the compliance date. Failure to comply with this order can subject you to a penalty of up to $1000.00 per day for each violation, and legal proceeding shall be instituted against you as provided by law. Each successive day thereafter in which the violation(s) is/are not corrected shall be deemed a separate violation.

John Leech__