City of Woodbury
Housing Department 
33 Delaware Street, Woodbury, NJ 08096
(856) 845-1300 ext. 127
E-mail cmiller@woodbury.nj.us
          
NOTICE OF ORDER

 
 Inspection Date: September 3, 2019             Issuance Date: September 4, 2019

Compliance Date: September 14, 2019               Block: 91 Lot: 18
	                                                                                                                    
Name: Trent Bridge Inc.C/O Roundpoint Mtg       Location:  34 Watkins St
               5016 Parkway Plaza #200                                                Woodbury, NJ 08096                                                                                                                            
[bookmark: _GoBack]              Charlotte, NC 28217 
                                                                                                                   
     Please take notice that inspections conducted by the Housing Official at the above referenced location disclosed that housing and/or safety violations exist which requires immediate action in order to protect the public health and safety. (Statement of violations attached).                                                                                                
Ordinance Number: 2246-16                       Chapter: 106-8
No person shall occupy or rent to another for occupancy any dwelling or dwelling unit for the purpose of living therein which does not conform to the provisions of this chapter and the International Property Maintenance Code, 2015 Edition, 1993 Regulations for Maintenance of Hotels and Multiple Dwellings and the State Building Code and their amendments or additions subsequent thereto, which are established hereby as the standards to be used in determining whether a dwelling is safe, sanitary and fit for human habitation. No cellar or any part thereof shall be used for sleeping purposes. Basements may be used for sleeping purposes, provided that the entire basement complies with all requirements of this chapter and the emergency escape provisions of the aforesaid State Building Code, that all furnaces or other heating or hot water facilities are so located, insulated and separated from living areas by resistive partitions of two-hour fire rating, that fire extinguishers are provided at an accessible location and proximity thereto for use in the case of fire and that the floors, ceilings and walls are impervious to leakage of underground and surface runoff water and are insulated from and free from dampness and moisture. Smoke detectors must comply with the Uniform Fire Safety Act, N.J.A.C. 5:18-4.19 and/or the aforesaid Regulations for Maintenance of Hotels and Multiple Dwellings.
Take Notice that the City of Woodbury shall also proceed to exercise its police powers to revoke, repair, close, demolish, cause or require the repairing, closing, demolition of such building or, part thereof in the manner provided by the City of Woodbury Ordinances. 
You are notified that you, at your own expense, must correct or abate the violation on or before the compliance date. Failure to comply with this order can subject you to a penalty of up to $1000.00 per day for each violation, and legal proceeding shall be instituted against you as provided by law. Each successive day thereafter in which the violation(s) is/are not corrected shall be deemed a separate violation.
		                                              							                                                  

Clifton Miller		                                     

