## Sheet1
Upper Saddle River Fire Department | [6 empty] | 2026-01-22
Fire Calls for the period 7/1/2025 - 12/31/2025
NO. | DATE | year | month | CODE | DESCRIPTION | Address | City | ST | ZIP
227 | 2025-07-02 | 2025 | 7 | RFA | set off by cooking | 9 Grist Mill | Upper Saddle River | NJ | 07458
228 | 2025-07-03 | 2025 | 7 | RFA | set off in error | 47 W Saddle River Rd | Upper Saddle River | NJ | 07458
230 | 2025-07-03 | 2025 | 7 | RFA | set off by cooking | 24 Hillcrest Dr | Upper Saddle River | NJ | 07458
229 | 2025-07-03 | 2025 | 7 | RSC | tree heat pool heater, shut off gas | 3 Dearhorn Tr | Upper Saddle River | NJ | 07458
234 | 2025-07-05 | 2025 | 7 | RCO | set off by exhaust from power washer | 23 Robin Ridge | Upper Saddle River | NJ | 07458
233 | 2025-07-05 | 2025 | 7 | RFA | set off by cooking | 67 Rolling Ridge | Upper Saddle River | NJ | 07458
237 | 2025-07-07 | 2025 | 7 | MVF | car fire extinguish on arrival | RT 17 North | Upper Saddle River | NJ | 07458
235 | 2025-07-07 | 2025 | 7 | RFA | alarm malfunction | 39 Partridge Hill | Upper Saddle River | NJ | 07458
236 | 2025-07-07 | 2025 | 7 | RSC | false alarm | 20 Applewood Dr | Upper Saddle River | NJ | 07458
238 | 2025-07-09 | 2025 | 7 | RSC | Branch on wires, O&R released | 29 Echo Ridge | Upper Saddle River | NJ | 07458
239 | 2025-07-14 | 2025 | 7 | RCO | set off in error | 60 Grandview Ave | Upper Saddle River | NJ | 07458
241 | 2025-07-14 | 2025 | 7 | RFA | alarm malfunction | 11 Ginko Ct | Upper Saddle River | NJ | 07458
242 | 2025-07-14 | 2025 | 7 | RFA | alarm error | 1 Spook Ridge | Upper Saddle River | NJ | 07458
243 | 2025-07-15 | 2025 | 7 | RSF | set off by torch, put out | 16 Hess Ct | Upper Saddle River | NJ | 07458
246 | 2025-07-18 | 2025 | 7 | RCO | old head malfuctin | 24 Patridge Hill | Upper Saddle River | NJ | 07458
247 | 2025-07-19 | 2025 | 7 | CFA | set off by cleaning floors | 391 W. Saddle River Rd | Upper Saddle River | NJ | 07458
248 | 2025-07-19 | 2025 | 7 | RFA | did not respond | 274 Rt 17N | Upper Saddle River | NJ | 07458
250 | 2025-07-21 | 2025 | 7 | RCO | Set off by HO using gas blower in garage | 17 Cottage Ln | Upper Saddle River | NJ | 07458
249 | 2025-07-21 | 2025 | 7 | RFA | set off by home owner | 32 Winding Way | Upper Saddle River | NJ | 07458
251 | 2025-07-22 | 2025 | 7 | BRF | fire pit mistaken for brush fire | 529 E. Saddle River Rd | Upper Saddle River | NJ | 07458
253 | 2025-07-23 | 2025 | 7 | RFA | system error | 31 Timberlane Rd | Upper Saddle River | NJ | 07458
254 | 2025-07-24 | 2025 | 7 | MVF | bobcat on fire, extinguished | 63 Eagle Rim Rd | Upper Saddle River | NJ | 07458
255 | 2025-07-24 | 2025 | 7 | RCO | 240 ppm reading, vented, PSE&G on scene | 19 Midland | Upper Saddle River | NJ | 07458
256 | 2025-07-24 | 2025 | 7 | RFA | system error | 19 Meadow Farms Ct | Upper Saddle River | NJ | 07458
257 | 2025-07-25 | 2025 | 7 | RFA | system error | 55 Cinamon | Upper Saddle River | NJ | 07458
258 | 2025-07-25 | 2025 | 7 | RFA | set off in error | 7 Valley Lane | Upper Saddle River | NJ | 07458
260 | 2025-07-26 | 2025 | 7 | CFA | set off by paper plate in microwave | 500 E. Saddle River Rd | Upper Saddle River | NJ | 07458
259 | 2025-07-26 | 2025 | 7 | RFA | alarm error | 55 Cinnamon Dr | Upper Saddle River | NJ | 07458
261 | 2025-07-26 | 2025 | 7 | RFA | set off in error | 44 Danbury Down | Upper Saddle River | NJ | 07458
262 | 2025-07-28 | 2025 | 7 | RFA | H/O refused entry | 110 Deahorn | Upper Saddle River | NJ | 07458
263 | 2025-07-29 | 2025 | 7 | RFA | system malfunction | 35 MillGlen Rd | Upper Saddle River | NJ | 07458
264 | 2025-07-29 | 2025 | 7 | RFA | heat detector in the attick, too hot | 22 Cherry Lane | Upper Saddle River | NJ | 07458
266 | 2025-07-30 | 2025 | 7 | CSC | electric wires down, O&R called | Lake St | Upper Saddle River | NJ | 07458
265 | 2025-07-30 | 2025 | 7 | RFA | set off by alarm company | 32 Hampshire Hill Rd | Upper Saddle River | NJ | 07458
268 | 2025-08-01 | 2025 | 8 | CSC | failed roof a/c, shut off by FD | 211 Rt 17S | Upper Saddle River | NJ | 07458
267 | 2025-08-01 | 2025 | 8 | RCO | smell of gas, PSE&G on scene | 3 Windy Hill Ct | Upper Saddle River | NJ | 07458
269 | 2025-08-04 | 2025 | 8 | RFA | system error | 57 Hillcrest Dr | Upper Saddle River | NJ | 07458
270 | 2025-08-05 | 2025 | 8 | RFA | set off by contractor | 80 Glenwood Rd | Upper Saddle River | NJ | 07458
271 | 2025-08-05 | 2025 | 8 | RFA | set off by shower | 336 Lake St | Upper Saddle River | NJ | 07458
272 | 2025-08-06 | 2025 | 8 | RSC | exterior meter leak, PSE&G on scene | 80 Walnut Dr | Upper Saddle River | NJ | 07458
274 | 2025-08-08 | 2025 | 8 | RFA | alarm malfunction | 24 Holly Dr | Upper Saddle River | NJ | 07458
277 | 2025-08-09 | 2025 | 8 | RCO | set off by car running in a garage | 4 Partridge Pl | Upper Saddle River | NJ | 07458
275 | 2025-08-09 | 2025 | 8 | RFA | alarm malfunction | 2 Windsor Gate | Upper Saddle River | NJ | 07458
276 | 2025-08-09 | 2025 | 8 | RFA | call for gas odor, nothing found, PSE&G | 52 Danbury Down | Upper Saddle River | NJ | 07458
278 | 2025-08-09 | 2025 | 8 | RFA | alarm malfunction | 3 Shadow Rd | Upper Saddle River | NJ | 07458
280 | 2025-08-11 | 2025 | 8 | RFA | smoke detector went off, nothing found | 38 Knollwood Rd | Upper Saddle River | NJ | 07458
281 | 2025-08-12 | 2025 | 8 | BRF | brush smoke, unknown ignition sourse | Parking lot | Upper Saddle River | NJ | 07458
282 | 2025-08-13 | 2025 | 8 | RFA | system error | 508 W Saddle River Rd | Upper Saddle River | NJ | 07458
283 | 2025-08-13 | 2025 | 8 | RFA | checked the house, nothing found | 80 Cinnamon | Upper Saddle River | NJ | 07458
284 | 2025-08-14 | 2025 | 8 | RSC | Pool heater gas line issue. PSE&G on sc. | 24 Drake Ln | Upper Saddle River | NJ | 07458
285 | 2025-08-15 | 2025 | 8 | BRF | Service wire on brush, put out w/water cn | 304 E. Saddle River Rd | Upper Saddle River | NJ | 07458
286 | 2025-08-20 | 2025 | 8 | RFA | set off by cooking | 25 Glencarl Rd | Upper Saddle River | NJ | 07458
288 | 2025-08-21 | 2025 | 8 | RFA | nothing found | 2 Schindler Ct | Upper Saddle River | NJ | 07458
289 | 2025-08-22 | 2025 | 8 | RFA | system test | 55 West Ln | Upper Saddle River | NJ | 07458
291 | 2025-08-25 | 2025 | 8 | CFA | alarm set off by water | 24 Parkway | Upper Saddle River | NJ | 07458
293 | 2025-08-27 | 2025 | 8 | RSC | gas leak in kitchen, shut off gas | 9 Iron Latch | Upper Saddle River | NJ | 07458
294 | 2025-08-28 | 2025 | 8 | RFA | burnt food | 70 Weiss Rd | Upper Saddle River | NJ | 07458
295 | 2025-08-29 | 2025 | 8 | RSC | smell of gas, PSE&G on scene | 98 Cinnamon | Upper Saddle River | NJ | 07458
296 | 2025-08-30 | 2025 | 8 | RFA | false alarm | 24 Hess Ct | Upper Saddle River | NJ | 07458
298 | 2025-09-02 | 2025 | 9 | RCO | Cooktop connector loose, PSE&G on scene | 30 Cinnamon Dr | Upper Saddle River | NJ | 07458
299 | 2025-09-03 | 2025 | 9 | RFA | set off by contractor | 29 Gristmill Ln | Upper Saddle River | NJ | 07458
303 | 2025-09-07 | 2025 | 9 | CFA | no readings | 1 PARKWAY | Upper Saddle River | NJ | 07458
301 | 2025-09-07 | 2025 | 9 | RSC | strong chemical odor, called PSE&G | 15 Yoman Dr | Upper Saddle River | NJ | 07458
304 | 2025-09-09 | 2025 | 9 | RCO | no readings, batery issue | 44 Lilline Ln | Upper Saddle River | NJ | 07458
305 | 2025-09-09 | 2025 | 9 | RFA | set off by cooking | 9 Rowan Tree Dr | Upper Saddle River | NJ | 07458
306 | 2025-09-10 | 2025 | 9 | RFA | no readings on tic or meter | 7 Upper Cross | Upper Saddle River | NJ | 07458
307 | 2025-09-11 | 2025 | 9 | RSC | no readings, shut off fire place | 17 Sunset Ln | Upper Saddle River | NJ | 07458
309 | 2025-09-12 | 2025 | 9 | RFA | set off by steamer | 54 MillGlen Rd | Upper Saddle River | NJ | 07458
310 | 2025-09-12 | 2025 | 9 | RFA | house checked with TIC, h/o no avail | 5 Spruce Hollow | Upper Saddle River | NJ | 07458
312 | 2025-09-13 | 2025 | 9 | RFA | set off in error | 7 Ripplewood | Upper Saddle River | NJ | 07458
313 | 2025-09-15 | 2025 | 9 | RFA | burnt food | 90 Calrough Rd | Upper Saddle River | NJ | 07458
314 | 2025-09-16 | 2025 | 9 | RFA | burnt food | 59 Dimming | Upper Saddle River | NJ | 07458
316 | 2025-09-20 | 2025 | 9 | RFA | system malfunction | 23 Robin Ridge | Upper Saddle River | NJ | 07458
319 | 2025-09-25 | 2025 | 9 | RCO | CO readings of4/5 from idling van outside | 40 Dogwood | Upper Saddle River | NJ | 07458
318 | 2025-09-25 | 2025 | 9 | RFA | set off by cooking | 547 W Saddle River rd | Upper Saddle River | NJ | 07458
320 | 2025-09-26 | 2025 | 9 | RFA | call canceled | 26 Goldfinch | Upper Saddle River | NJ | 07458
321 | 2025-09-27 | 2025 | 9 | RFA | nothing found | 59 Pine Hill | Upper Saddle River | NJ | 07458
325 | 2025-09-28 | 2025 | 9 | RCO | system malfunction | 548 W Saddle River Rd | Upper Saddle River | NJ | 07458
322 | 2025-09-28 | 2025 | 9 | RFA | system malfunction | 41 Old Stone Church | Upper Saddle River | NJ | 07458
324 | 2025-09-28 | 2025 | 9 | RFA | set off in error | 4 Applewood Dr | Upper Saddle River | NJ | 07458
323 | 2025-09-28 | 2025 | 9 | RSC | outdoor grill malfunction | 93 Oak | Upper Saddle River | NJ | 07458
326 | 2025-09-30 | 2025 | 9 | MVA | apply speed dry | Lake & East Saddle | Upper Saddle River | NJ | 07458
327 | 2025-09-30 | 2025 | 9 | RCO | nothing found, need to check batteries | 29 Valley Ln | Upper Saddle River | NJ | 07458
328 | 2025-09-30 | 2025 | 9 | RCO | gas smell coming from outside releif valve | 500 E. Saddle River Rd | Upper Saddle River | NJ | 07458
329 | 2025-09-30 | 2025 | 9 | RFA | set off by cooking | 26 Goldfinch | Upper Saddle River | NJ | 07458
333 | 2025-10-04 | 2025 | 10 | MVA | flipped car, assisted ambulance | Lake St | Upper Saddle River | NJ | 07458
332 | 2025-10-04 | 2025 | 10 | RFA | system error | 41 Old Stone Church | Upper Saddle River | NJ | 07458
334 | 2025-10-05 | 2025 | 10 | RFA | nothing found | 72 Cinnamon DR | Upper Saddle River | NJ | 07458
336 | 2025-10-07 | 2025 | 10 | RCO | set off by generator | 11 Pembroke Tr | Upper Saddle River | NJ | 07458
335 | 2025-10-07 | 2025 | 10 | RFA | nothing found, Called PSE&G | 18 Shnider | Upper Saddle River | NJ | 07458
337 | 2025-10-09 | 2025 | 10 | RFA | steam from shower, refused entry | 336 Lake St | Upper Saddle River | NJ | 07458
339 | 2025-10-10 | 2025 | 10 | RFA | set off by cooking | 6 Primrose Ct | Upper Saddle River | NJ | 07458
340 | 2025-10-10 | 2025 | 10 | RFA | system malfunction | 47 Old Chimney | Upper Saddle River | NJ | 07458
338 | 2025-10-10 | 2025 | 10 | RSC | Oven fire, disconnected power | 57 Fawn Hill | Upper Saddle River | NJ | 07458
341 | 2025-10-11 | 2025 | 10 | RCO | gas pool pipe corroded, PSE&G shut off gas | 52 Brookside Dr | Upper Saddle River | NJ | 07458
342 | 2025-10-11 | 2025 | 10 | RCO | set off in error | 51 Pine Hill Rd | Upper Saddle River | NJ | 07458
343 | 2025-10-13 | 2025 | 10 | RFA | set off by cooking | 4 Glencarl Rd | Upper Saddle River | NJ | 07458
345 | 2025-10-14 | 2025 | 10 | RFA | set off in error | 15 Cobblestone | Upper Saddle River | NJ | 07458
347 | 2025-10-18 | 2025 | 10 | RFA | nothing found | 12 Peach Tree Pl. | Upper Saddle River | NJ | 07458
349 | 2025-10-21 | 2025 | 10 | CFA | set off by contractor | 100 Rt 17 N | Upper Saddle River | NJ | 07458
348 | 2025-10-21 | 2025 | 10 | RFA | no readings | 45 Yoman | Upper Saddle River | NJ | 07458
350 | 2025-10-23 | 2025 | 10 | RFA | set off by steam from shower | 7 Upper Cross | Upper Saddle River | NJ | 07458
351 | 2025-10-28 | 2025 | 10 | CFA | system malfunction | 100 Rt 17 N | Upper Saddle River | NJ | 07458
352 | 2025-10-28 | 2025 | 10 | MVA | car ran up the hill and became immobilized | Lake St | Upper Saddle River | NJ | 07458
355 | 2025-10-30 | 2025 | 10 | RSC | smell of gas, PSE&G on scene | 67 Lillan Ln | Upper Saddle River | NJ | 07458
357 | 2025-10-31 | 2025 | 10 | RFA | nothing found | 5 Castle Hill Ct | Upper Saddle River | NJ | 07458
358 | 2025-11-01 | 2025 | 11 | RCO | no readings | 49 Stevenson Ln | Upper Saddle River | NJ | 07458
359 | 2025-11-01 | 2025 | 11 | RCO | system malfunction | 27 Arrowhead | Upper Saddle River | NJ | 07458
360 | 2025-11-02 | 2025 | 11 | BRF | put out by hand line | 15 Ridge Rd | Upper Saddle River | NJ | 07458
361 | 2025-11-03 | 2025 | 11 | CFA | set off by cooking | 1 Parkway | Upper Saddle River | NJ | 07458
364 | 2025-11-04 | 2025 | 11 | MVF | car fire extinguish on arrival | 8 Albert Dr | Upper Saddle River | NJ | 07458
365 | 2025-11-04 | 2025 | 11 | MVF | car fire extinguish on arrival | 8 Albert Dr | Upper Saddle River | NJ | 07458
362 | 2025-11-04 | 2025 | 11 | RCO | false alarm, h/o advised to check system | 49 Stevenson Ln | Upper Saddle River | NJ | 07458
363 | 2025-11-04 | 2025 | 11 | RFA | system error | 60 Weis Rd | Upper Saddle River | NJ | 07458
366 | 2025-11-06 | 2025 | 11 | RFA | system error | 60 Weiss Rd | Upper Saddle River | NJ | 07458
369 | 2025-11-07 | 2025 | 11 | RFA | set off by hair dryer | 8 Barnfield Ct | Upper Saddle River | NJ | 07458
368 | 2025-11-07 | 2025 | 11 | RSF | fire in a garage, MA from SR | 14 Windy Hill | Upper Saddle River | NJ | 07458
370 | 2025-11-08 | 2025 | 11 | RFA | nothing found, alarm error | 70 Locust Lane | Upper Saddle River | NJ | 07458
371 | 2025-11-09 | 2025 | 11 | RCO | CO unit left outsiide by contractor | 24 Barnfiled Ct | Upper Saddle River | NJ | 07458
372 | 2025-11-10 | 2025 | 11 | RCO | alarm error | 43 Hopper Farm | Upper Saddle River | NJ | 07458
374 | 2025-11-11 | 2025 | 11 | RCO | set off by low batteries | 9 Briarcliff | Upper Saddle River | NJ | 07458
375 | 2025-11-11 | 2025 | 11 | RFA | set off by cooking | 40 Aspen Way | Upper Saddle River | NJ | 07458
376 | 2025-11-12 | 2025 | 11 | RFA | set off by cooking | 35 Echo Ridge | Upper Saddle River | NJ | 07458
377 | 2025-11-13 | 2025 | 11 | MVA | no smoke/no fire | E. Saddle River | Upper Saddle River | NJ | 07458
378 | 2025-11-13 | 2025 | 11 | RSC | smell of gas, PSE&G on scene | 25 Weiss Rd | Upper Saddle River | NJ | 07458
379 | 2025-11-14 | 2025 | 11 | RFA | set off in error | 9 Yeoman Dr | Upper Saddle River | NJ | 07458
380 | 2025-11-15 | 2025 | 11 | RFA | pan left on stove, vented the house | 462 W. SRR | Upper Saddle River | NJ | 07458
381 | 2025-11-16 | 2025 | 11 | RFA | set off by cooking | 10 Woodmere Rd | Upper Saddle River | NJ | 07458
382 | 2025-11-16 | 2025 | 11 | RSC | nothing found | 23 Midland Dr | Upper Saddle River | NJ | 07458
383 | 2025-11-17 | 2025 | 11 | RFA | set off by battery check | 9 Skyline Dr | Upper Saddle River | NJ | 07458
385 | 2025-11-20 | 2025 | 11 | RFA | set off in error | 7 Ware Rd | Upper Saddle River | NJ | 07458
386 | 2025-11-20 | 2025 | 11 | RFA | Burnt milk | 524 W. SRR | Upper Saddle River | NJ | 07458
387 | 2025-11-21 | 2025 | 11 | CFA | cold sensor went off in the basement | 363 E. SRR | Upper Saddle River | NJ | 07458
388 | 2025-11-21 | 2025 | 11 | CFA | cold sensor went off in the basement | 363 E. SRR | Upper Saddle River | NJ | 07458
389 | 2025-11-21 | 2025 | 11 | CFA | cold sensor went off in the basement | 363 E. SRR | Upper Saddle River | NJ | 07458
390 | 2025-11-24 | 2025 | 11 | RCO | set off in error | 1 Spruce Hollow Rd | Upper Saddle River | NJ | 07458
392 | 2025-11-26 | 2025 | 11 | RFA | chek home w/meter and tic, nothing | 24 Hillcrest Dr | Upper Saddle River | NJ | 07458
393 | 2025-11-26 | 2025 | 11 | RSC | Removed 2 females from elevator | 1 Parkway | Upper Saddle River | NJ | 07458
395 | 2025-11-27 | 2025 | 11 | RFA | chek home w/meter and tic, nothing | 11 Cobblestone | Upper Saddle River | NJ | 07458
396 | 2025-11-27 | 2025 | 11 | RFA | set off in error | 1 Iron Latch | Upper Saddle River | NJ | 07458
397 | 2025-12-02 | 2025 | 12 | RCO | alarm malfunction | 20 Sleepy Hollow Rd | Upper Saddle River | NJ | 07458
401 | 2025-12-02 | 2025 | 12 | RFA | housed check with meters, nothing found | 61 Fawnhill Rd | Upper Saddle River | NJ | 07458
398 | 2025-12-02 | 2025 | 12 | RSC | smell from a dead animal mistaken for gas | 10 Weiss Rd | Upper Saddle River | NJ | 07458
399 | 2025-12-02 | 2025 | 12 | RSC | dryer smoking, ventilated, extinguished | 33 Chestnut Dr | Upper Saddle River | NJ | 07458
400 | 2025-12-02 | 2025 | 12 | RSC | smoke from pool heater, no issue | 48 Brook Rd | Upper Saddle River | NJ | 07458
402 | 2025-12-03 | 2025 | 12 | RSC | nothing found | 33 Pleasant Ave | Upper Saddle River | NJ | 07458
403 | 2025-12-04 | 2025 | 12 | RFA | alarm error | 30 Cinnamon Dr | Upper Saddle River | NJ | 07458
405 | 2025-12-05 | 2025 | 12 | RFA | set off by cooking | 66 Timberline Rd | Upper Saddle River | NJ | 07458
406 | 2025-12-06 | 2025 | 12 | RFA | burnt food | 59 Timberlane Rd | Upper Saddle River | NJ | 07458
407 | 2025-12-06 | 2025 | 12 | RFA | System error | 60 Walnut Dr | Upper Saddle River | NJ | 07458
410 | 2025-12-07 | 2025 | 12 | RFA | set off in error | 7 Heritage Ct | Upper Saddle River | NJ | 07458
411 | 2025-12-08 | 2025 | 12 | RFA | set off by contractor | 4 Spruce Hollow | Upper Saddle River | NJ | 07458
413 | 2025-12-12 | 2025 | 12 | RFA | alarm error | 20 Holly Dr | Upper Saddle River | NJ | 07458
416 | 2025-12-19 | 2025 | 12 | RFA | system malfunction | 38 Woodmere Dr | Upper Saddle River | NJ | 07458
419 | 2025-12-19 | 2025 | 12 | RFA | set off in error | 11 Cobblestone Dr | Upper Saddle River | NJ | 07458
417 | 2025-12-19 | 2025 | 12 | RSC | gas leak at meter, shut off, PSE&G resp | 118 Overbrook | Upper Saddle River | NJ | 07458
421 | 2025-12-20 | 2025 | 12 | RCO | CO levels of 17, ventilated, called PSE&G | 10 Patriot | Upper Saddle River | NJ | 07458
422 | 2025-12-20 | 2025 | 12 | RFA | nothing found | 27 Ranch Rd | Upper Saddle River | NJ | 07458
423 | 2025-12-23 | 2025 | 12 | RFA | set off in error | 7 Heritage Ct | Upper Saddle River | NJ | 07458
424 | 2025-12-27 | 2025 | 12 | RSF | checked for chimney extension, nothing. | 8 Brookside Dr | Upper Saddle River | NJ | 07458
426 | 2025-12-29 | 2025 | 12 | RFA | set off by cooking | 14 Willow Hill | Upper Saddle River | NJ | 07458
427 | 2025-12-29 | 2025 | 12 | RFA | water trigered heat detector | 5 Spring Hollow | Upper Saddle River | NJ | 07458
425 | 2025-12-29 | 2025 | 12 | RSC | wires down, waited for O&R to take over | 28 Hamshire Hill | Upper Saddle River | NJ | 07458
428 | 2025-12-30 | 2025 | 12 | RSF | seet off by cooking | 41 Skymark Dr | Upper Saddle River | NJ | 07458