## violations
Location Address | Block | Lot | Owner Name | Owner Address | Issue Date | Compliance Date | Summary | Infraction Location | Statute | Statute Number | Statute Source | Issuing Officer
PICOLLO, ROSE | 3202 | 17 | PICOLLO, ROSE | 17 KIRKBRIDE DR | 2021-11-03 | 2021-11-24 | Call Wade at 973-292-6716 once violations are abated. Must pay re-inspection fee of $80.00 for failed CH Inspection. Must install 2A-10B:C Fire Extinguisher within 10 feet of kitchen. Must apply for permit from Buildings Department to remove oil tank in basement. | Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Wade Chan
62 WESTERN AVE | 7702 | 15 | PATKA, FIROZ | 3621 BURNING TREE CT | 2021-11-03 | 2021-11-19 | Must repair damaged wall in bedroom next to 2nd floor bathroom. | Interior | WALLS AND CEILINGS GENERALLY. | 13-23 | Chapter 13 | Wade Chan
62 WESTERN AVE | 7702 | 15 | PATKA, FIROZ | 3621 BURNING TREE CT | 2021-11-03 | 2021-11-19 | Call Wade at 973-292-6716 once all violations are abated. Must repair plumbing system in 2nd floor bathroom by licensed plumber. | Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Wade Chan
62 WESTERN AVE | 7702 | 15 | PATKA, FIROZ | 3621 BURNING TREE CT | 2021-11-03 | 2021-11-19 | Must repair damaged sheetrock from water leaks above basement staircase. | Interior | WALLS AND CEILINGS GENERALLY. | 13-23 | Chapter 13 | Wade Chan
21 HILL ST | 4501 | 44 | Mahbub Haque | 79 Henning Ter | 2021-11-04 | 2021-11-11 | Call Wade at 973-292-6716 once violation is abated. Must hire a certified mold remediation contractor to remove all signs of mold caused by leaks or a letter stating that there is no mold issue in leaking areas inside the unit. | Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Wade Chan
52 SUSSEX AVE | 5202 | 19 | 52 SUSSEX AVENUE LLC %DAN LEVATO | 400 RICHARDS AVE | 2021-11-04 | 2021-11-12 | Call Wade at 973-292-6716 once violation is abated. Must clean out gutters free of vegetation growth. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
163 SOUTH ST | 6201 | 10 | JAI LAXMIJI, LLC % A & D PATEL | 11 TREETOP TER | 2021-11-04 | 2021-11-25 | MUST REPAIR ANY LEAKS FROM THE ROOF LEADING INTO THE APARTMENTS BELOW. | 163 SOUTH ST. LEFTSIDE APT. |  | 13-19 (A) GENERAL SANITATION AND SAFETY | Municipal | Mark King
163 SOUTH ST | 6201 | 10 | JAI LAXMIJI, LLC % A & D PATEL | 11 TREETOP TER | 2021-11-04 | 2021-11-25 | MUST SUPPLY A REPORT FROM THE REPAIRS ON THE LEAKING ROOF TO TOWN PROPERTY MAINTENANCE OFFICE. | 163 SOUTH ST. |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Mark King
163 SOUTH ST | 6201 | 10 | JAI LAXMIJI, LLC % A & D PATEL | 11 TREETOP TER | 2021-11-04 | 2021-11-25 | MUST REPAIR LEAKING CEILING IN LIVING ROOM. | 163 SOUTH ST. LEFTSIDE APT. |  | 13-23 WALLS AND CEILINGS GENERALLY | Municipal | Mark King
15 HILLAIRY AVE | 403 | 12 | TANDA-HILLAIRY LLC | 15 HILLAIRY AVE | 2021-11-05 | 2021-11-22 |  | Interior/Exterior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Phillip Epps
91 MORRIS ST | 4801 | 12 | MORRIS 91 LLC | 9 LAYER DR | 2021-11-08 | 2021-11-22 | MUST REPAIR BROKEN WINDOW REAR DOOR OF HOUSE. | 91 MORRIS ST. |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Mark King
77 MORRIS ST | 4801 | 10 | CRANFORD OFFICE PROPERTY LLC | 25 WASHINGTON ST | 2021-11-08 | 2021-11-29 | MUST REPAIR BROKEN ROOF LINE/ SOFITS ON FRONT OF BUILDING. | 77 MORRIS ST. |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Mark King
35 CLINTON PL | 5803 | 7.06 | GARCIA, CELIMO & MARIA | 4 LOUISBURG | 2021-11-10 | 2021-11-27 | Must install handrailings for staircase leading to basement and staircase leading to exterior door on bottom floor. | Interior | STAIRS AND RAILINGS. | 13-24 | Chapter 13 | Wade Chan
35 CLINTON PL | 5803 | 7.06 | GARCIA, CELIMO & MARIA | 4 LOUISBURG | 2021-11-10 | 2021-11-12 | Failure to obtain Certificate of Habitability for 35 Clinton Place | Interior | CERTIFICATE OF HABITABILITY. | 13-80 a. | Chapter 13 | Wade Chan
52 SPEEDWELL AVE | 5801 | 29 | SPEEDWELL AVE LLC | POBOX 183 | 2021-11-10 | 2021-11-19 | Call Wade at 973-292-6716 to discuss. Must remove and maintain scattered litter and debris from rear of 52 Speedwell Avenue. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
35 CLINTON PL | 5803 | 7.06 | GARCIA, CELIMO & MARIA | 4 LOUISBURG | 2021-11-12 | 2021-11-27 | Must repair damaged walls and ceilings on bottom floor and first floor: free from cracks, breaks, loose plaster, and similar conditions. Must paint all walls and ceilings after repairs are made. Kitchen wall and electrical outlet next to stove must be cleaned free of visible foreign matter. | Interior | WALLS AND CEILINGS GENERALLY. | 13-23 | Chapter 13 | Wade Chan
35 CLINTON PL | 5803 | 7.06 | GARCIA, CELIMO & MARIA | 4 LOUISBURG | 2021-11-12 | 2021-11-17 | Call Wade at 973-292-6716 once all violations are abated. Electrical outlet to right side of stove is too close to each other and is covered in cooking grease. Apply for permit from Building Department to relocate electrical outlet near stove. Fire/Safety Hazard. Must hire a certified mold remediation contractor to remove all signs of mold caused by leaks or a letter stating that there is no mold issue in leaking areas inside the unit - on all floors. Must mount and install 2A-10B:C Fire Extinguisher within 10 feet of kitchen in path of egress. Must install 10 year sealed smoke detector on bottom floor. Must remove all key locks on bedroom doors. Must securely re-attach hanging light fixture on bottom floor. | Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Wade Chan
74 MT KEMBLE AVE | 8601 | 19 | F&M PROPERTY LLC % D MAIER | 17 STACEY DR | 2021-11-12 | 2021-11-26 | Must paint bedroom closet to remove signs of flaking/peeling paint by shelf area. | Interior | WALLS AND CEILINGS GENERALLY. | 13-23 | Chapter 13 | Wade Chan
74 MT KEMBLE AVE | 8601 | 19 | F&M PROPERTY LLC % D MAIER | 17 STACEY DR | 2021-11-12 | 2021-11-26 | Call Wade at 973-292-6716 to discuss. Complaint of mice infestation in kitchen and attic areas. Put traps and hire a professional exterminator to eliminate this concern and manage the issue. Must supply extermination reports to Property Maintenance Office upon abatement. | Interior | FREEDOM FROM INFESTATION. | 13-17 | Chapter 13 | Wade Chan
13 SUSSEX AVE | 5101 | 3 | DIPLOMAT PROPERTY MANAGER LLC | 350 PARK AVE | 2021-11-15 | 2021-11-22 | All exterior handrailings must be properly secured. | Exterior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Wade Chan
13 SUSSEX AVE | 5101 | 3 | DIPLOMAT PROPERTY MANAGER LLC | 350 PARK AVE | 2021-11-15 | 2021-11-22 | Call Wade at 973-292-6716 once violations are abated. Must trim back hedges along sidewalk in front of property for safe pedestrian passage. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
140 SPEEDWELL AVE UNIT 5 | 5702 | 18.05 | LOBOZZO, JOSEPH SR | 8 WOOD HOLLOW RD | 2021-11-15 | 2021-11-22 | Call Wade at 973-292-6716 once violation is abated. Must remove and maintain all scattered litter and refuse on property grounds. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
63 EARLY ST | 5702 | 40 | NUTT, NORMAN DAVID | 63 EARLY ST | 2021-11-16 | 2021-11-19 | Failure to remove computer monitors by street curb. Payable: $105.00/RN | Exterior | STORAGE OF GARBAGE AND RECYCLABLE ITEMS | 19-2.6.C | Municipal | Wade Chan
140 WASHINGTON ST | 8301 | 9 | 140 WASHINGTON STREET, LLC | 58 OLD MILL RD | 2021-11-17 | 2021-11-19 | failure to remove dilapidated microwave in rear of property. payable: $105.00 | Exterior | STORAGE OF GARBAGE AND RECYCLABLE ITEMS | 19-2.6.C | Municipal | Wade Chan
11 MILTON PL | 5501 | 18 | PALLADINO, ANTHONY | 3 LAURI DR | 2021-11-17 | 2021-11-22 | Call Wade at 973-292-6716 once violation is abated. Must repair heat in bedroom, dining room, and bathroom in Apartment 2. Must maintain a minimum temperature of 70 degrees in all habitable areas. | Interior | HEATING FACILITIES; DUTY TO SUPPLY. | 13-34 a. | Chapter 13 | Wade Chan
52.5 MT.KEMBLE AVE | 7502 | 14 | POSEIDON PROPERTY LLC | POBOX 2102 | 2021-11-17 | 2021-11-19 | failure to remove furniture items from sidewalk. payable: $105.00 | exterior | GARBAGE TIME FOR PLACEMENT AR CURB | 19-2.4 F | Municipal | Wade Chan
44 JARDINE RD | 1904 | 6 | DEBORAH THOMAS | 31 HARRISON ST | 2021-11-18 | 2021-11-18 |  |  | VACANT BUILDINGS; REGISTRATION OF; MAINTENANCE. General Requirements. | 13-14.2 a. | Chapter 13 | Phillip Epps
9 CONTINENTAL AVE | 6901 | 4 | SANTO, HUGO/DIANA | 9 CONTINENTAL AVE | 2021-11-18 | 2021-12-06 | Remove tree with agressive lean in front of property or provide report that it is safe with that degree of lean from a tree professional. | Exterior | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 a.5. | Chapter 13 | Phillip Epps
WITHANACHCHI, JANATHA & JONICE | 4501 | 3.12 | WITHANACHCHI, JANATHA & JONICE | 4 CHELSEA DR | 2021-11-18 | 2021-11-18 |  |  |  | 30-8 | Municipal | Phillip Epps
28 GARDEN ST | 501 | 3 | SINCHE, MANUEL B | 32 BOULEVARD RD | 2021-11-18 | 2021-11-29 | Call Phillip 973-292-6710 to setup a fire safety inspection. All parts of home must be made available. | Interior | INSPECTIONS | 13-61 | Chapter 13 | Phillip Epps
26 HAZEL ST | 2402 | 17 | SINCHE, MANUAL B/CECILIA V. | 32 BOULEVARD RD | 2021-11-18 | 2021-11-18 |  |  | INSPECTIONS | 13-61 | Chapter 13 | Phillip Epps
31 CLINTON PL | 5803 | 7.04 | NORTON, LUZ M | 31 CLINTON PL | 2021-11-22 | 2021-12-06 | Call Wade at 973-292-6716 once violation is abated. Complaint of roach infestation inside unit. Put traps and hire a professional exterminator to eliminate this concern and manage the issue. Must supply extermination reports to Property Maintenance Office upon abatement. | Interior | FREEDOM FROM INFESTATION. | 13-17 | Chapter 13 | Wade Chan
15 SPEEDWELL PL | 5103 | 5.02 | LGG PROPERTIES | 176 MORRIS ST | 2021-11-22 | 2021-11-26 | Failure to remove TV in front of property. Payable: $105.00 | Exterior | STORAGE OF GARBAGE AND RECYCLABLE ITEMS | 19-2.6.C | Municipal | Wade Chan
98 SPEEDWELL AVE | 5803 | 3 | SPEEDWELL ASSOC.4 | 327 MADISON AVE | 2021-11-24 | 2021-12-08 | Call Wade at 973-292-6716 once violation is abated. Must remove all signs of graffiti in rear of property before December 8, 2021. | Exterior | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 a.5. | Chapter 13 | Wade Chan
Windmill Pond | 9201 | 1 | INTEGRA Management Corp | 200 Valley Road, Suite 203 | 2021-11-29 | 2021-12-10 | Behind 35 Maxwell Ct along Erskine Dr there is a tree coming from Windmill Pond about to fall onto 35 Maxwell Ct and must be removed immediately within 10 days of this notice to avoid penalty. HOA and Intergra were called without a way to reach a person. Call Phillip 973-292-6710 asap to discuss. | Exterior | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 a.5. | Chapter 13 | Phillip Epps
50 OGDEN PL | 7301 | 8 | SEPANIAK, STEPHEN G | 50 OGDEN PL | 2021-12-02 | 2021-12-23 | Please call Wade at 973-292-6716 to discuss. Trees by neighboring property must be removed if it is dead. Please remove or have a professional arborist state that tree is okay to remain. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.2. | Chapter 13 | Wade Chan
75 MILLS ST | 5602 | 50 | 75 MILLS ST REALTY LLC | 72 MILLS ST | 2021-12-02 | 2022-01-03 | Add vent above all ovens/stoves |  |  | 13-45 (C) REQUIRED BASIC FACILITIES | Municipal | Phillip Epps
75 MILLS ST | 5602 | 50 | 75 MILLS ST REALTY LLC | 72 MILLS ST | 2021-12-02 | 2021-12-09 | Illegal use of room as seperate dwelling |  |  | 30-8 | Municipal | Phillip Epps
75 MILLS ST | 5602 | 50 | 75 MILLS ST REALTY LLC | 72 MILLS ST | 2021-12-02 | 2022-01-03 | No permit for basement bathroom or oil to gas conversion. Remove oil tank with permit. |  |  | 30-8 | Municipal | Phillip Epps
75 MILLS ST | 5602 | 50 | 75 MILLS ST REALTY LLC | 72 MILLS ST | 2021-12-02 | 2022-01-03 | Seal basement door and window openings |  |  | 13-15 (A).4 STRUCTURAL SOUNDNESS AND GENERAL EXTERIOR MAINTENANCE | Municipal | Phillip Epps
75 MILLS ST | 5602 | 50 | 75 MILLS ST REALTY LLC | 72 MILLS ST | 2021-12-02 | 2021-12-09 | Mold in bathrooms |  |  | 13-17 FREEDOM FROM INFESTATION | Municipal | Phillip Epps
75 MILLS ST | 5602 | 50 | 75 MILLS ST REALTY LLC | 72 MILLS ST | 2021-12-02 | 2021-12-16 | Repair 2nd flr kitchen ceiling collapse. And all walls or surfaces with defect. |  |  | 13-21 FLOOR INTERIOR WALLS AND CEILINGS | Municipal | Phillip Epps
75 MILLS ST | 5602 | 50 | 75 MILLS ST REALTY LLC | 72 MILLS ST | 2021-12-02 | 2022-01-03 | All windows need screens. |  |  | 13-18 SUPPLYING OF SCREENS | Municipal | Phillip Epps
ALSTON, RALPH | 2101 | 13 | ALSTON, RALPH | 65 MADISON AVE -LOW.LEVEL | 2021-12-02 | 2021-12-20 | ALL LIFE SAFETY VIOLATIONS MUST BE ABATED BY 12/20/21/RN/RN12 Abbett Front Basement: Must install 10 year sealed smoke detector in basement. Basement windows, openings, foundations, and other parts of structure shall be maintained so water seepage and excessive drafts do not enter structure./RN/RN12 Abbett Rear Basement: Must install smoke detector in basement. Must remove all clutter by heating facilities./RN/RN12 Abbett Foyer: Must hire a certified mold remediation contractor to remove all signs of mold caused by leaks inside of foyer. Must supply mold report to Property Maintenance Office after abatement. Must repair large hole in closet ceiling. Must paint all walls and ceiling after repairs are completed. /RN/RN12 Abbett Unit A: Must install Smoke/Carbon Monoxide Detector in Unit A. Must repair cracks in walls and must repaint walls after abatement. Must repair light fixture that is dangling in kitchen. /RN/RN12 Abbett Unit B: Must mount 2A-10B:C fire extinguisher within 10 feet of kitchen. Must mount smoke detectors outside of both bedrooms. Must remove key lock door knobs on bedroom doors. Must repaint 3rd floor bedroom ceiling and walls./RN/RN12 Abbett Unit Rear: Must mount 2A-10B:C fire extinguisher within 10 feet of kitchen. Must mount smoke detector inside unit. Must hire a certified mold remediation contractor to remove all signs of mold caused by leaks or a letter stating that there is no mold issue in leaking areas inside children's bedroom. Must remove key lock door knobs off of bedroom doors. Must scrape/paint bathroom ceiling. | Exterior and Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Wade Chan
ALSTON, RALPH | 2101 | 12 | ALSTON, RALPH | 65 MADISON AVE- LOW.LEVEL | 2021-12-02 | 2021-12-20 | CALL WADE AT 973-292-6716 ONCE LIFE SAFETY VIOLATIONS ARE ABATED. ALL LIFE SAFETY VIOLATIONS MUST BE ABATED BY 12/20/21./RN/RN14 Abbett Exterior: Must repair leaning retaining wall behind front residential units. Must repair exterior fence in disrepair. Every part shall be structurally sound and in good repair./RN/RN14 Abbett Basement: Must install smoke detector in basement. Must hire a licensed plumber to repair leaking boiler and eliminate any water leaks in basement. Must hire a certified mold remediation contractor to remove all signs of mold caused by leaks. Must supply all plumbing repair and mold remediation reports to Property Maintenance office. Basement windows, openings, foundations, and other parts of structure shall be maintained so water seepage and excessive drafts does not enter the structure. Must remove all combustible/flammable items in basement area. Must repaint basement free of flaking/peeling paint. /RN/RN14 Abbett Front Unit A : Must mount 2A-10B:C fire extinguisher within 10 feet of kitchen. Must mount smoke detectors outside of bedroom area. Must remove all key lock door knobs on bedroom doors. Must scrape/repaint walls in bedroom with visible paint cracks. Must install electrical outlet wall plate in bedroom./RN/RN14 Abbett Front Unit B: Must mount 2A-10B:C fire extinguisher within 10 feet of kitchen. Must install smoke detectors outside of bedrooms. Must remove key lock door knobs on all bedroom doors. Must eliminate water leak in living room ceiling. Must repaint living room ceiling after water leak abatement. Must install electrical outlet wall cover in bathroom./RN/RN14 Abbett Front Unit C: Must install smoke and carbon monoxide detector in unit. Must hire a certified mold remediation contractor to remove all signs of mold caused by leaks. Must supply mold report to Property Maintenance office once remediation is complete. Must repair damaged bedroom walls and ceiling cracks. Must scrape/paint bedroom walls and ceilings to abate flaking/peeling paint. Must discontinue use of space heater and provide proper heat in unit./RN/RN14 Abbett Rear Unit 1: Must mount 2A-10B:C fire extinguisher within 10 feet of kitchen. Must install smoke detector outside of bedroom. Must repair hole in kitchen. Must paint kitchen walls and ceiling after repair. Must remove peeling/flaky paint in bathroom and repaint./RN/RN14 Abbett Rear Unit 2: Must mount proper 2A-10B:C fire extinguisher within 10 feet of kitchen. Must scrape/paint flaky paint in bedroom and bathroom ceiling. | Exterior and Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Wade Chan
36 CLYDES POTTS DR #11 | 5002 | 1 | TOWN OF MORRISTOWN HOUSING AUTH | 31 EARLY ST | 2021-12-08 | 2021-12-13 | Remove all mold in the bathroom and replace or restore tub so that it is clean. Kitchen refrigerator is in disrepair and needs rubber trim and shelf rack repaired. | Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Phillip Epps
98 SPEEDWELL AVE | 5803 | 3 | SPEEDWELL ASSOC.4 | 327 MADISON AVE | 2021-12-09 | 2021-12-16 | Failure to remove graffiti on property grounds | Exterior | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 a.5. | Chapter 13 | Wade Chan
123 WASHINGTON ST | 7901 | 22 | WASHINGTON STREET 123 LLC | 310 MADISON AVE -STE.205 | 2021-12-09 | 2021-12-16 | Failure to remove cardboard recyclables in front of property. Incorrect Placement Date/ Payable: $105.00 | Exterior | STORAGE OF GARBAGE AND RECYCLABLE ITEMS | 19-2.6.C | Municipal | Wade Chan
47 SUSSEX AVE | 5102 | 12 | SAPP,J & R %ELIZABETH SAPP JONES | 8621 SADDLEBACK PL | 2021-12-09 | 2021-12-16 | Failure to remove scattered debris in front of property. Payable: $105.00 | Exterior |  | 19-2.7 (A) SCATTERING OF GARBAGE OR RECYCLABLE ITEMS PROHIBITED; LOADING AREAS | Municipal | Wade Chan
17 CLINTON PL | 5803 | 6 | SPEEDWELL LLC | 1 MADISON AVE | 2021-12-10 | 2021-12-27 | Call Wade at 973-292-6716 to discuss. Must remove all scattered litter, debris, and brush in vacant lot. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
124 SPEEDWELL AV | 5803 | 40 | DIEZ NINOS HOLDINGS LLC | POBOX 773 | 2021-12-10 | 2021-12-27 | Call Wade at 973-292-6716 to discuss. Must remove all scattered litter, wood debris, and stone/metal debris behind 4 Early Street structure. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
28 GARDEN ST | 501 | 3 | SINCHE, MANUEL B | 32 BOULEVARD RD | 2021-12-10 | 2021-12-10 | Call Phillip 973-292-6710 to setup inspection. Please allow entry for inspection of violations listed on last complaint. | Interior | INSPECTIONS | 13-61 | Chapter 13 | Phillip Epps
22 VAIL PL | 3304 | 12 | WORTMAN, HOLLY & JAMES E | 22 VAIL PL | 2021-12-10 | 2021-12-29 | Maintain exterior free of trash and debris |  |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Phillip Epps
22 VAIL PL | 3304 | 12 | WORTMAN, HOLLY & JAMES E | 22 VAIL PL | 2021-12-10 | 2021-12-29 | Porch cluttering not allowed |  |  | 13-20 FREEDOM FROM ACCUMULATIONS AND OBSTRUCTIONS | Municipal | Phillip Epps
22 VAIL PL | 3304 | 12 | WORTMAN, HOLLY & JAMES E | 22 VAIL PL | 2021-12-10 | 2021-12-29 | Relocate trash can storage or enclose. |  | Garbage Containers | 19-2.4 D | Municipal | Phillip Epps
15 HILLAIRY AVE APT A | 403 | 12 | CYNTHIA BURKS | 15 HILLAIRY AVE APT A | 2021-12-10 | 2022-01-03 | Call Phillip 973-292-6710 to setup inspection. Please allow entry for inspection of violations listed on last complaint. | Interior | INSPECTIONS | 13-61 | Chapter 13 | Phillip Epps
10 FORD AVE | 3701 | 10 | LOFTS AT MORRISTOWN URBAN RENEWAL L | 55 WESTERVELT AVE #100 | 2021-12-10 | 2021-12-17 | MUST CLEANUP DUMPSTER AREA AFTER GARBAGE PICKUP. | 10 FORD AVE. |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Mark King
10 FORD AVE | 3701 | 10 | LOFTS AT MORRISTOWN URBAN RENEWAL L | 55 WESTERVELT AVE #100 | 2021-12-10 | 2021-12-17 | MUST MAINTAIN CLEAN DUMPSTER AREA TO PREVENT RODENTS INFESTATION IN COMPLEX AREA. | 10 FORD AVE. |  | 13-19 (A) GENERAL SANITATION AND SAFETY | Municipal | Mark King
7 SHERMAN PL | 5304 | 11 | KOFMAN/STOPPELLO, HAROLD L/KATHRYN | 5 SHERMAN PL | 2021-12-13 | 2021-12-17 | Failure to remove trash bag and containers. Incorrect placement date. Payable: $105.00 | Exterior | GARBAGE TIME FOR PLACEMENT AR CURB | 19-2.4 F | Municipal | Wade Chan
7 BUDD ST | 8303 | 9.04 | 7 BUDD STREET ASSOCIATES LLC | 8 SUMMIT RD | 2021-12-14 | 2021-12-21 | Failure to remove large trash item from street curb. incorrect placement date. Payable: $105.00 | Exterior | STORAGE OF GARBAGE AND RECYCLABLE ITEMS | 19-2.6.C | Municipal | Wade Chan
120 SPEEDWELL AVE | 5803 | 41 | TAX & INSURANCE SERVICE INC | POBOX 773 | 2021-12-14 | 2021-12-22 | MUST REMOVE ALL CONSTRUCTION DEBRIS/ GARBAGE FROM THE REAR OF THE PROPERTY. | 120 SPEEDWELL AVE. |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Mark King
120 SPEEDWELL AVE | 5803 | 41 | TAX & INSURANCE SERVICE INC | POBOX 773 | 2021-12-14 | 2021-12-22 | MUST MAINTAIN A CLEAN AREA AT REAR YARD OF PROPERTY FREE FROM GARBAGE/ DEBRIS OR CONSTRUCTION DEBRIS. | 120 SPEEDWELL AVE |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Mark King
18 GRANT ST | 5701 | 28 | CLASS OF 29 LLC | 62 CANFIELD RD | 2021-12-16 | 2021-12-23 | Failure to remove large trash item from street curb. incorrect placement date. Payable: $105.00 | Exterior | STORAGE OF GARBAGE AND RECYCLABLE ITEMS | 19-2.6.C | Municipal | Wade Chan
33 KING ST | 4702 | 16 | BARRESE, RICHARD | 23 MANN CT | 2021-12-17 | 2021-12-24 | MUST REMOVE ALL OVERGROWTH GRASS/ DEBRIS FROM THE REAR YARD OF THE PROPERTY GROUNDS . CLEAN UP GRASS DEBRIS BY GARAGE AREA. | 33 KING ST. |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Mark King
19 BELLEVUE TER | 5702 | 57 | I29 LLC | 39 E HANOVER AVE -STE B4 | 2021-12-21 | 2022-01-11 | Must repair damaged skirting in front of house. Must repair hanging gutter in front of house. | Exterior | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 a.5. | Chapter 13 | Wade Chan
19 BELLEVUE TER | 5702 | 57 | I29 LLC | 39 E HANOVER AVE -STE B4 | 2021-12-21 | 2021-12-30 | Call Wade at 973-292-6716 to discuss. Must remove all debris clutter from front porch area. Must remove all construction debris on side of house. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
67-73 SPRING ST | 3501 | 3 | 67-73 SPRING ST,C/O NORINE COHEN | 5406 AVENIDA DEL MARE | 2021-12-21 | 2021-12-21 |  |  | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 b. | Chapter 13 | Phillip Epps
16 OLYPHANT PL | 3602 | 2 | 16 OLYPHANT LLC | 18 DOGWOOD DRIVE | 2021-12-21 | 2022-01-10 | Temporary CH to transfer ownership. Get zoning approval and building permits for renovations made. After all repairs are done get an inspection to close out the sale portion. For any tenants, a rental CH has to be applied for after. | Interior/Exterior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Phillip Epps
9 GEORGE ST | 2202 | 2 | GEORGE ST COMMONS LLC % ZIMMER CO | POBOX 85 | 2021-12-21 | 2021-12-27 | Graffiti on George st side and trash scattered in rear along fence must be cleared. | Exterior | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 b. | Chapter 13 | Phillip Epps
111 SUSSEX AVE | 3005 | 15 | KOTLER, MITCHELL | 18 CUTLER ST | 2021-12-21 | 2022-01-11 | Must trim back tree branches along sidewalk for safe pedestrian passage in front of property. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
111 SUSSEX AVE | 3005 | 15 | KOTLER, MITCHELL | 18 CUTLER ST | 2021-12-21 | 2021-12-30 | Call Wade at 973-292-6716 to discuss. Must store all garbage bags in garbage containers in rear of property. Occupants shall place all garbage in the receptacles provided for garbage disposal and shall, where janitor service is not supplied, place for disposal all garbage and other refuse in garbage cans located in the exterior of the premises in an area designated and set apart for the same. If a side yard fronts a street, it shall be the duty of the tenant, owner or occupant to enclose refuse containers to prevent wind-driven debris and public nuisance. The appropriate municipal administrative authority shall have the authority to determine the proper receptacle or container location on private property. | Exterior | GARBAGE DISPOSAL AND PERSONAL ACCUMULATIONS. | 13-48 | Chapter 13 | Wade Chan
185 SPEEDWELL AVE | 5002 | 10 | K&A ASSOC % AMESS MGMT CO | PO BOX 88 | 2021-12-21 | 2021-12-21 |  |  |  | 19-2.7 (A) SCATTERING OF GARBAGE OR RECYCLABLE ITEMS PROHIBITED; LOADING AREAS | Municipal | Phillip Epps
185 SPEEDWELL AVE | 5002 | 10 | K&A ASSOC % AMESS MGMT CO | PO BOX 88 | 2021-12-21 | 2021-12-21 |  |  |  | 19-2.7 (A) SCATTERING OF GARBAGE OR RECYCLABLE ITEMS PROHIBITED; LOADING AREAS | Municipal | Phillip Epps
3 M L KING AVE | 2202 | 1 | DIMOGERODAKIS, ANTONIS | 56 FAIRMOUNT AVE | 2021-12-21 | 2022-01-05 | Graffiti on George st side and trash scattered in rear along fence must be cleared. | Exterior | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 b. | Chapter 13 | Phillip Epps
36 KING ST | 4701 | 50 | CHAVEZ, EDNA/REGONDOLA, JOEL/ET ALS | 3610 GARRETTSVILLE DR | 2021-12-29 | 2022-01-31 | Call Phillip 973-292-6710 to discuss. Pay reinspection fee after correcting the following. If buying as is an affidavit accepting the responsibility to correct all violations must be signed by buyer. Before occupancy all violations must be abated. All construction permits must be closed. Finished basement not legal and must be permitted or removed. Basement bathroom must be permitted or removed. In rear basement room with drain, huge hole must be repaired in utulity room. Basement heating appliances need permits. In any room and any place there is a floor plug, it must be inspected and permitted or replace with a wall plug. Remove all key locks off bedroom doors. | Exterior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Phillip Epps
36 KING ST | 4701 | 50 | CHAVEZ, EDNA/REGONDOLA, JOEL/ET ALS | 3610 GARRETTSVILLE DR | 2021-12-29 | 2021-12-29 | No CH for 2018 ownership change | Interior/Exterior | CERTIFICATE OF HABITABILITY. | 13-80 a. | Chapter 13 | Phillip Epps
17 CLINTON PL | 5803 | 6 | SPEEDWELL LLC | 327 MADISON AVE | 2021-12-30 | 2022-01-06 | Failure to remove scattered litter and debris from vaant lot | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
19 BELLEVUE TER | 5702 | 57 | I29 LLC | 39 E HANOVER AVE -STE B4 | 2021-12-30 | 2022-01-06 | Failure to remove all debris clutter from front porch and rear of property. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
20 COLUMBA ST | 5702 | 11 | TENAGLIA, ELENA A | 20 COLUMBA ST | 2022-01-03 | 2022-01-24 | Must remove clutter and debris in rear of house. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
20 COLUMBA ST | 5702 | 11 | TENAGLIA, ELENA A | 20 COLUMBA ST | 2022-01-03 | 2022-01-24 | Must trim all plant life growing within 10 feet of any roadway and within 25 feet of the intersection of two roadways shall be cut to a height of not more than 2 1/2 feet. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 g. | Chapter 13 | Wade Chan
20 COLUMBA ST | 5702 | 11 | TENAGLIA, ELENA A | 20 COLUMBA ST | 2022-01-03 | 2022-01-10 | Call Wade at 973-292-6716 once violations are abated. We are receiving complaints of rodents on property grounds. Put outdoor rat traps or hire exterminator to help eliminate this concern. Must supply extermination reports to office if exterminator was used. Trash can lids stored aside must be kept closed tight. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 c. | Chapter 13 | Wade Chan
74 SUSSEX AVE | 5302 | 5 | KUEHL, NICOLAS H & CRYSTAL L | 7112 ANGELINA DR | 2022-01-04 | 2022-01-07 | Call Wade at 973-292-6716 to discuss. Tenant complaint of water issues in basement. Basement foundation and other parts of structure shall be maintained as to keep water from entering the structure. | Interior | STRUCTURAL SOUNDNESS AND GENERAL EXTERIOR MAINTENANCE. | 13-15 a.3. | Chapter 13 | Wade Chan
14 ABBETT AVE A | 2101 | 12 | ALSTON, RALPH | 65 MADISON AVE- LOW.LEVEL | 2022-01-04 | 2022-01-11 | Illegal Use of Den As Bedroom | Interior Apt A | OCCUPANCY STANDARDS: DWELLING UNITS. | 13-43 a. | Chapter 13 | Wade Chan
20 COLUMBA ST | 5702 | 11 | TENAGLIA, ELENA A | 20 COLUMBA ST | 2022-01-04 | 2022-01-10 | Call Wade at 973-292-6716 to schedule a fire and safety inspection. | Interior | INSPECTIONS | 13-61 | Chapter 13 | Wade Chan
57 JAMES ST | 7202 | 12 | SISCO, REGINA/VIGLIETTA, BARBARA | 57 JAMES ST | 2022-01-06 | 2022-02-02 | All vacant properties must be registered with the Town of Morristown. Must register vacant property for $500 initial fee. See attached ordinance and registration form. Must send back completed registration form, check/money order, and insurance documentation. A sign for emergency contact must be posted per ordinance as long as home is vacant. | 57 James Street | VACANT BUILDINGS; REGISTRATION OF; MAINTENANCE. General Requirements. | 13-14.2 a. | Chapter 13 | Wade Chan
168 SPEEDWELL AVE | 5101 | 1 | 7 SUSSEX AVE, LLC | 168 SPEEDWELL AVE | 2022-01-06 | 2022-01-14 | Call Wade at 973-292-6716 to discuss. Must remove and maintain all scattered litter and trash on property grounds: parking lot area and sidewalk/fence line on Speedwell Avenue side. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
79 CHESTNUT ST | 8403 | 5 | SOFMAN, GERTRUDE | 157 BAY AVE | 2022-01-07 | 2022-01-14 | Failure to repair damaged siding on side of house | Exterior | APPEARANCE OF EXTERIOR OF PREMISES AND STRUCTURES. | 13-13 a.5. | Chapter 13 | Wade Chan
15 HILLAIRY AVE | 403 | 12 | TANDA-HILLAIRY LLC | 15 HILLAIRY AVE | 2022-01-10 | 2022-01-31 | Garage light not working to full capacity. Seepage/draft at entrance of doors. Loose balusters at front door staircase. Toilet tissue bracket broke. Windows can't stay open. Dusty vents in bedroom. Paint in bathroom repair. Shower drain holes sharp and cuts tenants. Weak waterflow in bathroom. Water damage in 2nd flr bathroom ceiling. Hole behind toilet valve connection to wall. 2nd floor wall cracks. Dim lighting above stair case. Seal bathroom sink if water fills it may flood. Sharp edges in kitchen cabinet. Chips in cabinet. Tenant requesting proof that bracket to fix dishwasher is safe and professional. Hole by front entrance of staircase. No heat on lower level. Loose staircase stubs. Screws in living room wall and wires. Sealant coming off between tiles and counter. | Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Phillip Epps
6 RIDGEDALE AVE | 3601 | 5.01 | FAIRWEATHER, ALAINE A/VECE,GIUSEPPE | 243 CLAREMONT AVE | 2022-01-11 | 2022-01-21 | Call Phillip 973-292-6710 to setup inspection of interior of property for fire safety./RN | Interior | INSPECTIONS | 13-61 | Chapter 13 | Phillip Epps
253 SPEEDWELL AVE APT 2 | 2604 | 17 | SCUMACI, MARIA | 62 CANFIELD RD | 2022-01-12 | 2022-02-08 | FAIL TO COMPLETE PROCESS OF CERTIFICATE OF HABITABILITY FOR APT. RENTAL | 253 SPEEDWELL AVE. APT 2 |  | 13-12 (A).1 MAINTENANCE OF EXTERIOR OF PREMISES | Municipal | Mark King
253 SPEEDWELL AVE | 2604 | 17 | SCUMACI, MARIA | 62 CANFIELD RD | 2022-01-12 | 2022-02-08 | FAIL TO COMPLETE PROCESS OF CERTIFICATE OF HABITABILITY BY ALLOWING TENANTS TO OCCUPIED THE APARTMENTS WITHOUT CLOSING CONSTRUCTION PERMITS. | 253 SPEEDWELL AVE. APT1 |  | 13-80 (A) CERTIFICATE OF HABITABILITY | Municipal | Mark King
3 WOODLAWN DR | 5401 | 11 | STEVE LEVIN TRUST % R LEVIN TRUSTEE | 5 HOPBROOK RD | 2022-01-12 | 2022-01-19 | Failure to remove scattered garbage bags on driveway. Payable: $105.00 | Exterior |  | 19-2.7 (A) SCATTERING OF GARBAGE OR RECYCLABLE ITEMS PROHIBITED; LOADING AREAS | Municipal | Wade Chan
16 MT KEMBLE AVE | 6006 | 15 | HAKAKIAN, JAVID/SIMA | 8-12 MT KEMBLE AVE | 2022-01-18 | 2022-01-31 | Failure to pay vacant property fee. $2000.00 | Interior/Exterior | VACANT BUILDINGS; REGISTRATION OF; MAINTENANCE. Designated Representative of Out-Of-State Creditor; Violation. | 13-14.12 | Chapter 13 | Wade Chan
20 COLUMBA ST | 5702 | 11 | TENAGLIA, ELENA A | 20 COLUMBA ST | 2022-01-18 | 2022-01-31 | Fail to hire exterminator for rodent issue | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 c. | Chapter 13 | Wade Chan
44 JARDINE RD | 1904 | 6 | DEBORAH THOMAS | 31 HARRISON ST | 2022-01-19 | 2022-01-19 |  |  | VACANT BUILDINGS; REGISTRATION OF; MAINTENANCE. General Requirements. | 13-14.2 a. | Chapter 13 | Phillip Epps
223 SPEEDWELL AV | 3301 | 16 | KEEFE, BRIAN | 56 MILLER RD | 2022-01-19 | 2022-01-31 | Trash cannot be in plastic bags only for pickup. Must be in containers with tight lids. | Exterior | GARBAGE DISPOSAL AND PERSONAL ACCUMULATIONS. | 13-48 | Chapter 13 | Phillip Epps
22 VAIL PL | 3304 | 12 | WORTMAN, HOLLY & JAMES E | 22 VAIL PL | 2022-01-19 | 2022-02-04 | Trash cans cannot be stored within 10 feet of sidewalk. Move from the side facing Clydes Potts and place on other side or to the immediate rear. All trash and debris must be cleared from exterior, and porch area cleared of clutter./RN | Exterior | Garbage Containers | 19-2.4 D | Municipal | Phillip Epps
M L KING AVE COR.FLAGLER | 5001 | 1 | BEVERLY 84, LLC | POBOX 183 | 2022-01-19 | 2022-02-03 | Must replace curcuit breakers in apt C-12 |  | MAINTENANCE OF ELECTRICAL AND LIGHTING FACILITIES. | 13-41 c.1.(a) | Chapter 13 | Phillip Epps
1 LAFAYETTE AVE | 3604 | 1 | ONE LAFAYETTE PARTNERS LLC | 20 Community Pl Suite 7 | 2022-01-19 | 2022-02-03 | Remove all grafitti surrounding property and clear exterior trash and debris. | Exterior | VACANT BUILDINGS; REGISTRATION OF; MAINTENANCE. Safe and Sanitary Maintenance. | 13-14.8 a.10. | Chapter 13 | Phillip Epps
39 SOUTH ST | 6101 | 4 | SABIN,DR NATHAN C | 39 SOUTH ST | 2022-01-27 | 2022-02-17 | Call Wade at 973-292-6716 once violation is abated. Must remove existing rear drainage pipe that is currently attached to the side of 51 South Street's building and reroute drainage pipe on 39 South Street property grounds. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 b. | Chapter 13 | Wade Chan
74 MT KEMBLE AVE | 8601 | 19 | F&M PROPERTY LLC % D MAIER | 17 STACEY DR | 2022-01-27 | 2022-02-17 | Call Wade at 973-292-6716 once violation is abated. Ceiling cracks in attic must be repaired/repainted. Discolored living room ceiling area must be repainted. | Interior | WALLS AND CEILINGS GENERALLY. | 13-23 | Chapter 13 | Wade Chan
30 DUMONT PL | 4801 | 30 | 6 DUMONT LLC | 1625 RT 10 | 2022-01-28 | 2022-02-25 | MUST REGISTER VACANT BUILDING WITH THE TOWN OF MORRISTOWN OFFICE OF PROPERTY MAINTENANCE. | 30 DUMONT PL. { 6 DUMONT PL. VACANT BUILDING} |  | 13-14 (A) VACANT BUILDINGS | Municipal | Mark King
19 HARRISON ST | 5702 | 66 | LEVATO GIOVANNA | 68 GASTON RD | 2022-02-02 | 2022-02-07 | Must remove and maintain all scattered furniture, debris, and refuse in front and rear of the property. Must remove all clutter located in the front and rear porch. | Exterior | MAINTENANCE OF EXTERIOR OF PREMISES. | 13-12 a.1. | Chapter 13 | Wade Chan
19 HARRISON ST | 5702 | 66 | LEVATO GIOVANNA | 68 GASTON RD | 2022-02-02 | 2022-02-09 | Call Wade at 973-292-6716 to schedule a fire safety inspection of entire property. All area rooms and storage areas must be available to avoid failure. | Interior | INSPECTIONS | 13-61 | Chapter 13 | Wade Chan
19 HARRISON ST | 5702 | 66 | LEVATO GIOVANNA | 68 GASTON RD | 2022-02-02 | 2022-02-23 | Must repair/replace all broken window glass in house. | Interior | GENERAL SANITATION AND SAFETY. | 13-19 | Chapter 13 | Wade Chan
19 HARRISON ST | 5702 | 66 | LEVATO GIOVANNA | 68 GASTON RD | 2022-02-02 | 2022-02-07 | All garbage/recyclable bags must be in garbage containers. | Exterior | GARBAGE DISPOSAL AND PERSONAL ACCUMULATIONS. | 13-48 | Chapter 13 | Wade Chan
51 RALPH PL | 3105 | 18 | PAPPALEPORE, ELENA/FABIO | 20 RAYNOR RD | 2022-02-03 | 2022-02-04 | Failure to remove trash bags/containers from street curb. Incorrect Placement Date. Payable: $105.00 | Exterior | GARBAGE TIME FOR PLACEMENT AR CURB | 19-2.4 F | Municipal | Wade Chan